Replace two Air Conditioners and air handling units

Unit for North 4 to include

12.5 ton AC condenser unit and 12.5 ton air handler

Hail guard on condenser

Line set and freon

Insulation on any duct work that is modified

Strut to hold electrical conduit

Insulation on new line set

Telehandler to remove old AC unit from 2nd floor porch

Install new condenser on existing concrete pad

Misc. supplies

Electrical

Unit for Ginzberg Yes Center

15 ton AC condenser unit and 15 ton air handler

Hail guard on condenser

Line set and freon

Insulation on any duct work that has been modified

Strut to hold electrical conduit

Insulation on new line set

Electrical

Misc. supplies

Labor