The Department of Public Safety is seeking a complete, field-ready digital X-ray system and accessories to support tactical operations.  The system must be portable and capable of deploying in field environments to safely and effectively identify potential hazards.

Specifications:

The bid must include the following items or equivalent.

- 14”x17” high-definition (HD) narrow margin Digital Radiography detector (DR)

- Ruggedized, military-grade controller (tablet or laptop).

- Advanced long-range wireless communication capability

- Wired communication capability

- Custom ruggedized shipping and storage case to hold all system components and accessories

- Training tailored to the needs of the agency, to include, system set-up and operation, basic maintenance and care, and use of the software.

- System related software for full operation of the DR system, to include image acquisition, processing, enhancement, storage and export.

- Comprehensive product warranty covering all system components

- System shall be delivered as a complete, turnkey system ready for operation upon delivery.