## Addendum 1

## This Addendum is issued to provide clarifications, respond to vendor questions, and revise certain sections of the RFB.

## All updated or added information is highlighted in YELLOW for clarity.

## Walk-In Freezer Purchase and Installation

District: Moravia CSD
Address: 505 N. Trussel 
City, State, Zip: Moravia, IA 52571

Issue Date: 3/23/26
Bid Due Date: 4/22/26 at 2:00 pm

Contact Person:
Sam Swenson
Superintendent
Phone: 641-724-3241
Email: sam.swenson@moraviacsd.com

# 1. INVITATION TO BID

The Moravia CSD is requesting sealed bids for the purchase, delivery, and installation of one walk-in freezer for use in the District’s School Nutrition Program.

This procurement is conducted in accordance with:

- 2 CFR Part 200 – Uniform Administrative Requirements

- USDA School Nutrition Program procurement regulations

- Iowa Department of Education School Nutrition Program guidance

Funding for this purchase may include federal Child Nutrition Program funds.

# 2. PROJECT DESCRIPTION

The district intends to purchase and install a commercial walk-in freezer at:

Moravia CSD

505 N. Trussel

Moravia, IA 52571

The selected vendor will provide the following with mandatory project completion date of August 1st.

- Equipment

- Delivery

- Installation

- Startup and testing

- Warranty documentation

# 3. MINIMUM SPECIFICATIONS

School District Walk-In Cooler/Freezer Combo

Primary Dimensions: 12' Wide x 26' Long x 7.5' (90") High

Application: Exterior Slab (Outdoor

1. Structural & Panel Construction

- Dimensions: 12' x 26' x 7' 6" nominal

- Insulation: 4" thick modular, foamed-in-place polyurethane or extruded polystyrene (XPS)

- R-Value Compliance: Minimum R-25 for Cooler and R-32 for Freezer (2026 DOE compliant)

- Finish: 26-gauge stucco-embossed Galvalume or white-coated steel for maximum corrosion resistance

- Joints: Tongue-and-groove with cam-lock fasteners and NSF-approved 2. Flooring & Slab Requirements

- Freezer Floor: 4" thick insulated floor, wood-reinforced, with a stainless steel interior finish  o 	Requirement: Floor must be rated for 600–700 lbs/sq. ft. to accommodate heavy food crates and carts

- Cooler Floor: 4" thick insulated floor, wood-reinforced, with a stainless steel interior finish  o 	Requirement: Floor must be rated for 600–700 lbs/sq. ft. to accommodate heavy food crates and carts and flush with Freezer floor.

- Enhanced Outdoor Package (Iowa Climate)

  - Rain Roof: Single-membrane polyester/PVC roof system (White) with all necessary connectors and termination bars

  - Sloped Barrier: Include a sloped foam barrier (minimum 1/4" per foot) to ensure water runoff away from the building

  - Drip Protection: Heavy-duty rain hoods (drip caps) installed over all exterior door openings

  - Low-Ambient Kit: Condensing units must be rated for operation in -20°F ambient temperatures (Iowa winters)

- Doors & Access (School Grade)

  - Main Entry Doors: Two (2) 36" x 76" or 38" x 76" heavy-duty doors

  - Hardware: Three (3) heavy-duty adjustable cam-rise hinges per door and spring-loaded hydraulic door closers

  - Vacuum Relief: Freezer must include a heated, factory-mounted pressure relief port to prevent door-lock

  - Safety: Keyed deadbolt handles with glow-in-the-dark interior safety releases and integrated safety night lights

  - Protection: 24" high aluminum diamond-plate kick plates (interior/exterior) and PVC strip curtains

- Refrigeration Systems (2026 EPA Compliant)

  - Refrigerant: Systems MUST utilize A2L-compliant refrigerants (e.g., R-454A/C) to meet current EPA mandates for 2026 installations

  - Configurations:

o 	Cooler: Targeted +35°F to +38°F  o 	Freezer: Targeted -10°F to 0°F

  - Controls: Digital LED controllers with high/low temperature alarms and light-pilot switches

  - Defrost: Air defrost for cooler; Electric defrost for freezer

- Required Warranties

  - Panels: 15-year limited structural warranty

  - Refrigeration: 1-year parts and labor; 5-year compressor warranty

# 4. BID SUBMISSION REQUIREMENTS

Bids must include:

- Vendor company name and contact information

- Equipment specifications and model number

- Total cost including delivery and installation

- Estimated delivery timeline

- Warranty information

- References for similar installations

# 5. BID DEADLINE

Sealed bids must be received no later than:

May 1st, 2026 at 10:am

Submit bids to:

Moravia CSD
Attn: Sam Swenson
505 N. Trussel
Moravia, IA, 52571

Late bids will not be accepted.

# 6. BID OPENING

Bids will be publicly opened at:

Location: Moravia CSD central office (Superintendent Office)

Date/Time: May 1, 2026 1:00 pm

# 7. EVALUATION CRITERIA

Bids will be evaluated based on:

- Price

- Compliance with specifications

- Delivery timeline

- Vendor experience and references

- Warranty and service support

The district reserves the right to accept or reject any or all bids.

# 8. DELIVERY TIMELINE

The district prefers delivery and installation no later than 8-1-26 if possible.

# 9. NONDISCRIMINATION

The contractor shall comply with all applicable federal and state nondiscrimination laws and USDA civil rights requirements.

# 10. QUESTIONS

Questions regarding this bid should be directed to:

Sam Swenson
Superintendent
641-724-3241
sam.swenson@moraviacsd.com

# BID FORM (ATTACHMENT A)

Vendor Name: ___________________________

Equipment Make/Model: ___________________

Total Price (including installation):

$ ______________________

Estimated Delivery Time: __________________

Warranty Details: ________________________

Authorized Signature: ____________________

Date: ____________________

.