## Sheet1
ID | Building | Panel | DACT | Circuits | Pulls | Heats | Smokes | Photos | Fix Temp | Duct Detectors | Horns/Strobes | Strobes | Horns | Aborts | Remote Annunciators | Door Holders | Dampers | Flow Switches | Fan Relays | Pressure Switches | Sup Switches | Sprinkler Valves | Range Hood Tanks | Suppression System | Notes
102 | 19901-A0100 | 1st_&_2nd | 0 | 2 | 61 | 54 | 184 | 0 | 0 | 49 | 64 | 0 | 2 | 0 | 7 | 33 | 8 | 28 | 18 | 0 | 0 | R-102 | 2
103 | 19901-A0100 |  | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
1 | 19901-A0100 | Basement | 0 | 2 | 15 | 8 | 129 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
2 | 19901-A0500 | SK2224 | 0 | 2 | 2 | 3 | 5 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
3 | 19901-A0600 | Fike_10-051 | 0 | 1 | 3 | 5 | 6 | 0 | 0 | 0 | 2 | 0 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | FM200
4 | 19901-A0900 | Notifier_4003 | 0 | 4 | 4 | 1 | 35 | 0 | 0 | 0 | 8 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
5 | 19901-A1700 | Ansul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
6 | 19901-A4200 |  | 1 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
7 | 19901-B0100 | Notifier_SGL2000 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
8 | 19901-B0200 | SFP400B | 0 | 0 | 5 | 0 | 12 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
9 | 19901-B0300 | SFP400B | 0 | 6 | 5 | 1 | 8 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
10 | 19901-B0400 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
11 | 19901-B0500 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
12 | 19901-B0600 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
13 | 19901-B0700 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
14 | 19901-B0800 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
15 | 19901-B0900 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
16 | 19901-B1000 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
17 | 19901-B1100 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
18 | 19901-B1200 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
19 | 19901-B1300 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
20 | 19901-B1400 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
21 | 19901-B1500 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
22 | 19901-B1600 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
23 | 19901-B1700 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
24 | 19901-B1800 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
25 | 19901-B1900 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
26 | 19901-B2000 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
27 | 19901-B2100 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
28 | 19901-B2200 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
29 | 19901-B2300 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
30 | 19901-B2400 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
31 | 19901-B2500 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
32 | 19901-B2600 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
33 | 19901-B2700 | SGL404 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
34 | 19901-B2800 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
35 | 19901-B2900 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
36 | 19901-B3000 | SGL404 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
37 | 19901-B3200 | SGL100 | 0 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
38 | 19901-B3300 | 4001 | 0 | 3 | 2 | 3 | 3 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
39 | 19901-B3400 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
40 | 19901-B3500 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
41 | 19901-B3600 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
42 | 19901-B3700 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
43 | 19901-B3800 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
44 | 19901-B3900 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
45 | 19901-B4000 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
46 | 19901-B4100 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
47 | 19901-B4200 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
48 | 19901-B4300 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
49 | 19901-B4400 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
50 | 19901-B4500 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
51 | 19901-B4600 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
52 | 19901-B4700 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
53 | 19901-B4800 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
54 | 19901-B4900 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
55 | 19901-B5000 | 4001 | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
56 | 19901-B5100 | SGL200 | 0 | 2 | 2 | 1 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
57 | 19901-B6100 | Notifier_SFP | 0 | 3 | 2 | 0 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
58 | 19901-DF100 | Kidde | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kidde | 3
59 | 19901-DF200 | Kidde | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kidde | 3
60 | 19901-DF300 | Kidde | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kidde | 3
61 | 19901-DF400 | Ansul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | R-102 | 3
62 | 19901-DF500 | Kidde | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Kidde | 3
63 | 19901-M0100 | 4001 | 0 | 3 | 2 | 1 | 3 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
64 | 19901-M0200 | SFP400B | 0 | 2 | 4 | 1 | 0 | 0 | 0 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
65 | 19901-M0300 | 4001 | 0 | 3 | 2 | 1 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
66 | 19901-M0400 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | ProChem 200lb FM200 tank controlled by a PCR-100 release control
67 | 19901-M0500 | 4001 | 0 | 3 | 4 | 4 | 7 | 0 | 0 | 0 | 5 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | R-102 | 3
68 | 19901-M0700 | Ansul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
69 | 19901-M1000 | 4004 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
70 | 19901-M1500 | Notifier | 0 | 2 | 4 | 4 | 4 | 0 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
71 | 19901-PT010 | 4001 | 0 | 4 | 3 | 2 | 14 | 0 | 0 | 0 | 9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
72 | 19901-S0100 | 4020 | 0 | 8 | 14 | 0 | 2 | 0 | 0 | 2 | 17 | 4 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 3 |  | 0
73 | 19901-S0200 | Notifier(3) | 0 | 6 | 12 | 1 | 17 | 0 | 0 | 6 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
74 | 19901-S02A0 | Pyrot | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 |  | 0
75 | 19901-S0400 | SK2324 | 0 | 2 | 12 | 0 | 1 | 0 | 0 | 0 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
76 | 19901-S2100 | Notifier_SFP_10UD | 0 | 3 | 7 | 3 | 33 | 0 | 0 | 0 | 14 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | SIM_CTR
77 | 19901-S21A0 |  | 0 | 0 | 5 | 7 | 0 | 14 | 0 | 0 | 9 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Medical_SIM_CTR
78 | 19901-S2900 |  | 1 | 0 | 15 | 5 | 0 | 132 | 0 | 3 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
79 | 19901-S3000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
80 | 19901-S3400 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | CO2 System
81 | 19901-S3400 | 4001 | 0 | 4 | 14 | 0 | 0 | 0 | 0 | 5 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
82 | 19901-S34P0 | 4002 | 0 | 5 | 17 | 0 | 0 | 0 | 0 | 0 | 13 | 4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 0 |  | 0
83 | 19901-S3800 | 4002 | 0 | 2 | 5 | 1 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
84 | 19901-S5000 | 4002 | 0 | 4 | 5 | 6 | 77 | 0 | 0 | 0 | 11 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
85 | 19901-S5100 | 4002 | 0 | 4 | 5 | 6 | 77 | 0 | 0 | 0 | 11 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
86 | 19901-S5200 | 4002 | 0 | 52 | 17 | 4 | 28 | 0 | 0 | 4 | 28 | 3 | 1 | 0 | 2 | 0 | 1 | 4 | 1 | 1 | 0 | 2 | 3
87 | 19901-S5300 | 4002 | 0 | 12 | 36 | 5 | 47 | 0 | 0 | 3 | 39 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5
88 | 19901-S5400 | 4002 | 0 | 3 | 17 | 3 | 28 | 0 | 0 | 4 | 28 | 4 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 3
89 | 19901-S5500 | 4002 | 0 | 12 | 19 | 6 | 34 | 0 | 0 | 6 | 32 | 8 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 5
90 | 19901-S5800 | 4002 | 0 | 2 | 2 | 1 | 7 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
91 | 19901-S5900 | 4002 | 0 | 2 | 2 | 1 | 7 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
92 | 19901-S6000 | 4002 | 0 | 8 | 25 | 5 | 9 | 0 | 0 | 5 | 71 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3
93 | 19901-S7000 | Alson | 0 | 0 | 24 | 32 | 0 | 147 | 1 | 2 | 94 | 48 | 31 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
94 | 19901-S7100 | 4010 | 0 | 0 | 5 | 0 | 12 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
95 | 19901-S7200 | 4010 | 0 | 0 | 8 | 0 | 28 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
96 | 19901-W0400 | 4001 | 0 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
97 | 19901-W1200 | Notifier | 0 | 9 | 7 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 7 | 0 | 0 |  | 0
98 | 19901-W3500 | FM200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
99 | 19901-W4100 | Simplex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Novec_1230(3)
100 | 19901-W4100 | Novec_1230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
101 | 19901-W4200 |  | 1 | 0 | 7 | 2 | 0 | 9 | 0 | 1 | 22 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0