• Lightweight – preferably not to exceed 75 pounds per panel with carry handles built in.
• Tool-free assembly- the panels shall be able to be connected and secured without bolts and tools.
• Adjustable to various terrains – the panels shall be able to be connected on uneven surfaces.
• Weatherproof – the panels shall be able to withstand the challenging weather conditions without impacting the integrity of the material.
• Doors/Windows – the bid shall include approximately 200 panels with operational doors and windows. The doors/windows should also be constructed to withstand forcible breaching with commercial grade hardware.
• The mounting/connecting hardware shall not allow a visible gap between the panels which would allow an unrealistic training setting, allowing students to see into the area they are clearing.
• Durable – the panels shall be constructed of material that is highly modular but strong enough to allow for repeated marking cartridge impacts from handgun and rifle platforms. The clean-up of such impacts is easily accomplished with a clean cloth.
• Height – the height of said panels shall not exceed 8 feet and be not less than 6.5 feet.