## Sheet1
SKU # | SKU Name | Pricing Each | Comment
10488043 | TRACKIT 50 BP DNA LADDER
10488058 | TRACKIT 100 BP DNA LADDER
10966034 | PLATINUM TAQ DNA POLYMERASE
10977023 | DISTILLED WATER (ULTRAPURE)
11730017 | PLATINUM QPCR SUPERMIX-UDG
11730025 | PLATINUM QPCR SUPERMIX-UDG
11732020 | SSIII 1-STEP QRT-PCR 100
11732088 | SSIII 1-STEP QRT-PCR 500
11965092 | DMEM
20012027 | PBS, PH 7.2
221101 | O-RING,7/8IDX.07 BUNA-N
402824 | BUFFER (10X) WITH EDTA
402996 | NED MATRIX STANDARD KIT
403044 | KIT, FS DR DT RR-100
403081 | 9700 MICROAMP 96-WELL TRAY
4304437 | TAQMAN UNIV MMIX 5ML
4304972 | SEQUENCE DETECTION PRIMER
4309849 | FG,384-WELL CLEAR RXN PLATE
4310982 | 96 WELL RNASE P INST VERIF
4311320 | HI-DI FORMAMIDE BOTTLE
4311971 | FG,OPTICAL ADHESIVE COVERS
4312639 | FG,7700 COMPRESSION PAD KIT
4314320 | TF,ADHESIVE OPTICAL COVERS
4315931 | FG,CAPILLARY ARRAY
4315932 | SEPTA STRIP,BUFFER TRAY
4315933 | SEPTA STRIP,96 WELL TRAY
4316032 | TAQMAN MGB PROBE 50,000 PMOLES
4316567 | FG,TUBE 8-STRING OPTICAL
4316844 | FG,TQMN RNASE P CTL RGTS
4318159 | MATRIX STD SET DS-33
4319551 | CE GA TWR CMPTR SYSTEM
4322288 | AMPFLSTR IDENTIFILER PCR KIT
4322682 | GENESCAN-500(LIZ) SIZE STD KIT
4323032 | FG,OPTICAL CAP (8 CAPS/STRIPS)
4326708 | TAQMAN UNIV MMIX 50ML
4330015 | TOOL,CAP INSTALLING
4333183 | FG,ADHESIVE SEAL APPLICATOR
4333464 | CAPILLARY ARRAY
4336824 | 3100/3130 BDT V1.1 MTX STDS
4336935 | BDT V3.1 SEQ STD KIT
4337450 | BDT V1.1 RR-100 & SEQ BUFFER
4343895 | QUANTIFILER HUMAN DNA KIT
4344790 | MNL,USERS QUANTIFILER
4345287 | LMP,HAL 3,050 K L6420-K1 GX5.3
4345833 | DS-33 (DYE SET G5) MATRIX STD
4346907 | 96-WELL FAST THERMAL CYCLING
4349180 | FG,7500 SPECTRAL DYE CAL KIT
4350105 | PRECISION PLATE HOLDER 7000
4350584 | 96 WELL RNASE P VERIF PLATE
4351151 | 7500 SPECTRAL RED DYE CAL KIT
4352717 | MNL,SPSG 3130/3130XL
4359513 | AMPFLSTR YFILR PCR AMPLIFICATN
4364338 | TAQMAN UNIV MMIX 2X5ML
4364340 | TAQMAN UNIV MMIX 5X5ML
4364341 | TAQMAN UNIV MMIX NO UNG 2X5ML
4366605 | HID,7500 REAL-TIME,LAPTOP
4369016 | FG,TAQMAN GEX MASTER MIX,5 ML
4369510 | TF, TAQMAN GEX MMIX 5X5ML
4369514 | TF,TAQMAN GEX MMIX 2X5ML
4373872 | MINIFILER PCR AMPLIFICATION
4376486 | BIGDYE XTERMINATOR KIT 2ML
4376487 | BIGDYE XTERMINATOR KIT 20ML
4377669 | VERIFLEX 9 CHL 96W TEMP VERIF
4387391 | AGPATH-ID ONE-STEP RT-PCR
4393710 | POP-4 (960)POLYMER 3500 SERIES
4393715 | POP-4 (384)POLYMER 3500 SERIES
4393718 | CONDITIONING REAGNT 3500SERIES
4393927 | ANODE BFFR CONTAINR 3500SERIES
4404683 | CAPILLARY ARRAY 8-CAP 36CM RUO
4408256 | CATHODE BFR CONTAINR 3500 SER
4410715 | SEPTA CATHODE BUFFER CNTR 3500
4412614 | SEPTA,96 WELL RUO 3500
4412619 | KIT,POUCH CAP 3500
4425042 | DS-36 MATRIX STANDARD KIT
4441351 | PREPFILR EXPRESS BTA F DNA EXT
4441352 | PREPFILER EXPRESS F DNA EXT
4441763 | AUTOMATE EXPRESS DNA
4474665 | FG, GLOBALFILER EXPRESS
4476135 | FG,GLOBALFILER KIT
4476609 | FG,GLOBALFILER EXPRESS
4479071 | VERITI 96 WELL TC 0.2ML HID
4484075 | PROFLEX 96-WELL PCR SYSTEM
4484076 | PROFLEX DUAL 96WELL PCR SYSTEM
71004 | DYNABEADS ANTI-E.COLI O157
A25019 | HID 7500 CALIBRATION KIT
A31150 | HID RT PCR SW- SUSER-FRESH
A34321 | HID DNA QUANTITATION SYSTEM-L
A38440 | KIT,SW UPG GMID-X FULL V1.6
A38441 | KIT,SW UPG GMID-X CLIENT V1.6
A39977 | SW,GMID-X V1.6, 5-CLIENT
A40376 | 3500 DC4.0.1 WIN10 UPGRADE
AM2618 | BSA, ULTRA PURE(50MG/ML)5X50MG
AM7119 | YEAST TRNA 500 UL (10 MG/ML)
G501802 | E-GELS 2%
G601802 | E-GEL DOUBLE COMB 2% 18-PAK
G800802 | E-GEL 48 2% AGAROSE 8-PAK
N8010531 | MICROAMP 96-WELL SUPPORT BASE
N8010534 | MICROAMP CAPS, 12 CAPS/STRIP
N8010535 | MICROAMP CAPS, 8 CAPS/STRIP
N8010540 | MICROAMP RXN TUBES WITH CAP,
N8010541 | 9600/9700 MICROAMP TRAY
N8010560 | MICROAMP 96-WELL RXN PLATE -
N8010612 | AUTOCLAVED RXN TUBES W/ CAP,
N8010840 | MICROAMP COLOR RXN TUBE W/CAPS
N8011535 | BULKPACK MICROAMP CAPS,
N8080096 | AMPERASE URACIL N-GLYCOSYLASE
N8080119 | RNASE INHIBITOR, 20 UNITS/UL,
N8080129 | GENE AMP 10X PCR BUFFER PACK
N8080241 | AMPLITAQ GOLD 25OU BUFFER II
N8080247 | AMPLITAQ GOLD 1000U BUFFER II
N8080249 | AMPLITAQ GOLD 5X1000U BUF II
N8080260 | FG,DNTP MIX W/DTTP,1ML,10MM
N8080270 | FG,DNTP MIX W/DUTP,1ML,12.5MM
SV000068 | PREMIUM INSTALLATION
TRN00054 | APP TRAINING FOR FRAG ANALYSIS
ZG03SC970096 | ABRC SUPPORT,9700 96W
ZG11SC7500 | AB ASSURANCE 1PM 7500
4482910 | QUANTIFILER Trio
4330124 | Spectral Calibration Background Plate
A52127 | VeritiPro thermal Cycler
A01701 | GeneMapper ID-X Software v1.7, client upgrade (1 lic)
A01705 | GeneMapper ID-X Software v1.7, client upgrade (5 lic)
A01710 | GeneMapper ID-X Software v1.7, client upgrade (10 lic)
A71700 | GeneMapper ID-X Software v1.7, full installation
A71701 | GeneMapper ID-X Software v1.7, client installation
A01700 | GeneMapper ID-X Software v1.7, full upgrade