Replace air conditioning unit for CCSO S9 ward

Replace 12.5 ton AC condenser unit and 12.5 ton air handler

Evaporator unit must have installed hail guards

Installation to include line set and freon

Must include any duct work and modification to duct work

Insulation on any new and modified duct work

Electrical connections and all supplies related to installation

Misc. supplies

Any additional labor

Must be able to provide emergency repair to equipment within 24 hours of failure

Facility will dispose old equipment when complete