NOTICE TO VENDORS

INVITATION TO BID

The Iowa Telecommunications and Technology Commission operating the Iowa Communications Network (ICN) will be receiving sealed bid proposals until 3:00 p.m. Central Standard Time, October 13, 2023 for:

ITB 23-001

VENDOR TO PROVIDE TECHNICIAN LABOR AND MATERIALS FOR CABLE INSTALLATION AND TERMINATION WITHIN THE ANAMOSA STATE PENNITENTIARY

Brian Clayton – Issuing Officer

Iowa Communications Network

400 East 14th Street

Grimes State Office Building

Des Moines, IA 50319

FAX 515-725-4774

Brian.clayton@icn.state.ia.us

Vendors must comply with all affirmative action/equal employment opportunity provisions of State and Federal laws.

THIS INVITATION TO BID CONSISTS OF FOUR CHAPTERS AND THREE ATTACHMENTS:

CHAPTER		TITLE

1			Administrative Issues

2			Contractual Terms

- Technical Specifications & Requirements

- Evaluation Criteria

Attachment 1		Proposal Compliance Form

Attachment 2		Terms and Conditions

Attachment 3		Authorization To Release Information

EXHIBIT A		Materials Location and Identification

EXHBIT B		ASP Building Numbers

EXHIBIT C  		Contractor Blank Form for Background Check

CHAPTER 1

ADMINISTRATIVE ISSUES

1.1 	Purpose. At the request of the Anamosa State Penitentiary (ASP), ICN is seeking bid proposals to establish a Contract with a Vendor qualified to provide technician labor and materials for horizontal and vertical copper and fiber optic cable installation and termination. Vendors who meet the Chapter 3 Technical Specifications and Requirements will have their bid evaluated.

1.2	Schedule and Submission of Proposal.

1.2.1	Pre-Bid Meeting / Site Visit.  The Pre-Bid meeting / Site Visit will be held on Thursday, September 21, 2023; beginning promptly at 10:00 AM. Vendors will meet inside the administration entrance of the ASP Building, 406 N. High St. Anamosa, IA 52205 . The Site Visit is not mandatory, but suggested so the Vendor obtains an understanding of the project and the facilities. Vendors interested in attending the Site Visit must provide advance notice of their intent to attend prior the date of the Site Visit; contacting Mr. Brian Clayton at brian.clayton@icn.state.ia.us.

Attendees shall:

- Bring driver’s license and company-issued ID or credential to the site visit.

- Attire: avoid wearing red/blue shirts if possible

- No bags or tools are allowed

- Measuring devices may be allowed

- Writing utensils, paper, cell phone, camera may be used to take notes during the visit.

- Any item brought into the facility will need to be declared to staff before entering restricted area.

1.2.2	Questions and Answers.  Vendors are invited to submit written questions and requests for clarifications regarding the ITB.  Vendors may also submit suggestions for changes to the requirements of this ITB.  Oral questions will not be accepted or responded to by the ICN.   If the questions, requests for clarifications, or suggestions pertain to a specific section of the ITB, the page and section number(s) must be referenced.

1.2.3 	 The questions, requests for clarifications, or suggestions must be in writing and received by the Issuing Officer before 4:00 p.m., central time, September 26, 2023. The ICN will post the responses on the ICN web page, www.icn.iowa.gov and emailed to the bidders list by close of business September 28, 2023. The ICN’s written responses will be considered part of the ITB.  If the ICN decides to adopt a suggestion, the ICN will issue an amendment to the ITB.

1.2.3.1 The ICN assumes no responsibility for verbal representations made by its officers or employees unless such representations are confirmed in writing by the ICN and incorporated into this ITB.

1.2.4	Changes and Amendments.  The ICN reserves the right to amend the ITB at any time. If the ICN amends the ITB, the ICN will post the amendment on its web site.  It is suggested that all Vendors check the ICN web page periodically, for updates, amendments, etc.  Vendors’ bid proposals must include acknowledgment of all amendments issued by ICN. If the ICN amends the ITB after the closing date of receipt of proposals, the ICN may, in its sole discretion, allow Vendors to amend their bid proposals in response to the ICN’s amendment.

1.2.5	Receipt of Bid Proposals.  Bid Proposals must be received at ICN’s office no later than 3:00 p.m. central time October 13, 2023.  This requirement is a mandatory requirement and is not a minor deficiency subject to waiver by the ICN.  No bid proposals will be accepted after the date and time specified.  A late bid proposal shall be returned unopened to the Vendor.  Additionally, no bid proposal will be accepted by telephone, electronic mail or facsimile.  The bid proposals must be delivered to:

Brian Clayton – Issuing Officer

Iowa Communications Network

400 East 14th Street

Grimes State Office Building

Des Moines, IA 50319

1.2.5.1	If Vendor sends a Bid Proposal to the ICN, Vendor is requested to provide shipment confirmation and tracking numbers to the Issuing Officer at brian.clayton@icn.state.ia.us.

1.2.6	Bid Proposal Opening.  The ICN will open bid proposals at 3:00 p.m. central time on October 13, 2023.  Vendors may attend the bid opening if they wish, but no price information or any other information contained in any bid will be made public at that time. The bid proposals and the evaluation documents created by the ICN will remain confidential subject to Iowa Code Section 72.3 until the evaluation committee has evaluated all bid proposals submitted in response to this ITB and the ICN has issued a notice of intent to award the contract.  The bid proposals submitted and the evaluation documents created by the ICN will be available for inspection subject to the exceptions described in Iowa Code Chapter 22 or other applicable law only after the selection process is complete.

1.2.6.1	Vendors must furnish all information necessary to evaluate the bid proposal.  Bid proposals that fail to meet the mandatory requirements of the ITB or that fail to provide all of the information requested may be disqualified.  Verbal information provided by the Vendor shall not be considered part of the Vendor’s bid proposal.

1.2.6.2	All bid proposals shall be firm for a minimum period of sixty (60) days to allow the evaluation committee to fully evaluate all bid proposals and make an award deemed to be in the best interest of ICN and the State of Iowa. The ICN reserves the right to issue an award either prior to, or beyond the 60 days after proposal deadline if it is in the best interests of ICN, in ICN’s sole opinion, to do so. If the award is not issued within 60 days, Vendors that submitted bid proposals will be given the opportunity to confirm that the price and other factors in the bid proposal, are still valid.

1.2.6.3	By submitting a bid proposal the Vendor agrees to the terms and conditions contained within this ITB.

1.3	Proposal Format.

1.3.1 	Bid Proposals shall be printed on 8.5” x 11” paper.  One original and two (2) copies must accompany each submission.  The original bid proposal and copies must be in a package very clearly marked “ITB 23-001 Bid Proposal”. In addition, one (1) soft copy of the bid proposal shall be provided on CD or USB drive using Microsoft Word, and Excel software if the proposal includes spreadsheets. If the Vendor has identified portions of its bid proposal as confidential in accordance with section 1.9, the Vendor must submit one copy of the bid proposal with the confidential material redacted as required by section 1.9.4.

1.3.2		To achieve a uniform review process and the maximum degree of comparability, bid proposals shall be organized in the following manner:

1.3.2.1	Completed Bid Proposal Compliance Form (Attachment 1).  If an exception is made by the Vendor, the Vendor must explain the exception and must describe the Vendor’s proposed method for dealing with the exception. Exceptions that materially change the terms of the requirements of the ITB may result in disqualification of the Vendor’s bid proposal.

1.3.2.2	Completed Authorization to Release Information Form (Attachment 3).  The Vendor must sign the Authorization to Release Information form included with this ITB as an attachment.  Failure to sign this Authorization will result in the bid proposal being rejected outright.

1.3.2.3	Technical Specifications / Service Requirements. The Vendor must provide a positive statement of compliance to each requirement to have its bid proposal considered.  The bid proposal must fully address each specification and or requirement of the Chapter it is responding to and explain how the Vendor will accomplish or fulfill each specification and or requirement. Proposals must identify any deviation from any specification / requirements of this ITB that the Vendor cannot satisfy.  Any deviations from the requirements of the ITB or requirements the Vendor cannot satisfy may result in disqualification of the Vendor’s proposal.

1.3.2.4	 Vendor’s cost proposal which shall provide a clear description of all facets of the price proposed for the Chapter of the ITB, Vendor is responding to.

1.4	Clarification of Bid Proposals and Obtaining Information.  ICN reserves the right to contact a Vendor after submission of bid proposals for the purpose of clarifying a bid proposal to ensure mutual understanding. This contact may include written questions, interviews, site visits, a review of past performance if the Vendor has provided goods or services to the ICN, or any other political subdivision wherever located, or requests for corrective pages in the Vendor’s bid proposal. This information may be used to evaluate the Vendor’s bid proposal. However, (except as provided for in section 5.1.2) the information received from the Vendor shall not be considered in the evaluation of a Vendor’s bid proposal if the information materially alters the content of the bid proposal, as determined by the ICN in its sole discretion.  ICN reserves the right to obtain information concerning any Vendor or any bid proposal from any source and to consider such information in evaluating the Vendor’s bid proposal.

1.5	Cost of Bid Proposal.  ICN is not responsible for any costs incurred by a Vendor which are related to the preparation or delivery of the bid proposal, or any other activities carried out by the Vendor as it relates to this ITB. The costs of preparation and delivery of the bid proposal are solely the responsibility of the Vendor.

1.6	Bid Proposal Obligations.  The contents of the bid proposal and any clarification thereto submitted by the successful Vendor shall become part of the contractual obligation and incorporated by reference into the resulting contract.

1.7	Bid Proposals Property of ICN.  All bid proposals become the property of the ICN and the State of Iowa and shall not be returned to the Vendor.  At the conclusion of the selection process, the contents of all bid proposals will be placed in the public domain and be opened to inspection by interested parties subject to the exceptions provided in Iowa Code Chapter 22 or other applicable law.

1.8     	Rejection of Bid Proposals. ICN reserves the right to reject any and all bid proposals, in whole and in part, received in response to this ITB at any time prior to the execution of a written contract.  Issuance of this ITB in no way constitutes a commitment by ICN to award the contract.  This ITB is designed to provide Vendors with the information necessary for the preparation of competitive bid proposals.  This ITB process is for ICN’s benefit and is intended to provide ICN with competitive information to assist in the selection of goods and services.

1.9	Disqualification.  The ICN may reject outright and may not evaluate bid proposals for any one of the following reasons:

1.9.1    The Vendor fails to deliver the bid proposal by the due date and time.

1.9.2    The Vendor states that a service requirement cannot be met.

1.9.3    The Vendor's response materially changes a service requirement.

1.9.4	The Vendor’s response limits the rights of the ICN.

1.9.5	The Vendor fails to include information necessary to substantiate that it will be able to meet a service requirement.  A response of “we understand” or "will comply" or merely repeating the requirement is generally not sufficient.

1.9.6     The Vendor fails to respond to the ICN's request for information, documents, or references.

1.9.7     Reserved.

1.9.8 	The Vendor fails to include a completed, signed Authorization to Release Information Form (Attachment #3).

1.9.9	The Vendor fails to include a completed, signed Bid Proposal Compliance Form (Attachment #1).

1.9.10	The Vendor presents the information requested by this ITB in a format inconsistent with the instructions of the ITB.

1.9.11	The Vendor initiates unauthorized contact regarding the ITB with state employees.

1.9.12	The Vendor’s exceptions to the contract terms and conditions in ITB Chapter 2 and Attachment #2 materially change the terms and conditions of or the requirements of this ITB.

1.9.13	The Vendor provides misleading or inaccurate responses.

1.9.14	The Vendor’s proposal is materially unbalanced.

1.10	Public Records and Requests for Confidentiality.

1.10.1	The release of information by ICN to the public is subject to Iowa Code Chapter 22 and other applicable provisions of law relating to the release of records in the possession of a state agency.  Vendors are encouraged to familiarize themselves with these provisions prior to submitting a bid proposal.  All information submitted by a Vendor may be treated as public information by ICN unless the Vendor properly requests that information be treated as confidential at the time of submitting the bid proposal.

1.10.2	Any requests for confidential treatment of information must be included in a cover letter with the Vendor’s bid proposal and must enumerate the specific grounds in Iowa Code Chapter 22 or other legal reasons which support treatment of the material as confidential and must indicate why disclosure is not in the best interests of the public.  The request must also include the name, address and telephone number of the person authorized by the Vendor to respond to any inquiries by ICN concerning the confidential status of the materials.

1.10.3	Any documents submitted which contain confidential information must be marked on the outside as containing confidential information, and each page upon which confidential information appears must be marked as containing confidential information.  The confidential information must be clearly identifiable to the reader wherever it appears.  All copies of the bid proposal submitted, as well as the original bid proposal, must be marked in this manner.  Failure to properly mark information as confidential shall relieve the ICN from any responsibility if the information is viewed by the public, a competitor, or is in any way accidentally released.

1.10.4	In addition to marking the material as confidential material where it appears, the Vendor must submit one hard (printed) copy of the bid proposal from which the confidential information has been redacted.  This hard copy of the proposal MUST be clearly marked as “Excluding Confidential Materials”. In addition to a hard copy, the Vendor may also include an electronic copy of the non-confidential portions of the bid proposal on CD-ROM using Microsoft Word. The confidential material must be redacted in such a way as to allow the public to determine the general nature of the material removed and to retain as much of the document as possible.  The redacted version must be submitted with the cover letter and will be made available for public inspection. This submittal is a mandatory requirement and is not subject to waiver. Failure to mark the confidential items and to provide the required one copy with confidential information redacted shall be defined as allowance for the entire bid proposal to be treated as a public record.

1.10.5	The Vendor’s failure to request in the bid proposal confidential treatment of material pursuant to this Section and the relevant laws and administrative rules will be deemed by ICN as a waiver of any right to confidentiality which the Vendor may have had.

1.11	Restrictions on Gifts and Activities.  Iowa Code Chapter 68B contains laws which restrict gifts which may be given or received by State employees and requires certain individuals to disclose information concerning their activities with State government.  Vendors are responsible for determining the applicability of this Chapter to their activities and for complying with these requirements.  In addition, Iowa Code Chapter 722.1 provides that it is a felony offense to bribe a public official.

1.12     Restriction on Communication.  From the issue date of this ITB until the ICN issues the Notice of Intent to award, Vendors may only contact the Issuing Officer with questions or other communications relating to this ITB.  If a Vendor or someone acting on the Vendor’s behalf attempts to discuss this ITB orally or in writing with any Commission member or any employee of the ICN other than the Issuing Officer, except as otherwise permitted by this ITB, the Vendor may be disqualified. No questions shall be asked of State of Iowa employees regarding this ITB, without prior notification and approval by the Issuing Officer, accept as otherwise specifically permitted by this ITB.

1.13    Copyrights.  By submitting a bid proposal the Vendor agrees that ICN may copy the bid proposal for purposes of facilitating the evaluation or to respond to requests for public records.  The Vendor consents to such copying by submitting a proposal and warrants that such copying will not violate the rights of any third party.  ICN will have the right to use ideas or adaptations of ideas which are presented in the bid proposals.

1.14	Nonmaterial and Material Variances.  The ICN reserves the right to waive or permit cure of nonmaterial variances in the bid proposal if, in the judgment of the ICN, it is in the ICN’s best interest to do so.  Nonmaterial variances include minor informalities that do not affect responsiveness; that are merely a matter of form or format; that do not change the relative standing or otherwise prejudice other Vendors; that do not change the meaning or scope of the ITB; or that do not reflect a material change in the services.  In the event the ICN waives or permits cure of nonmaterial variances, such waiver or cure will not modify the ITB requirements or excuse the Vendor from full compliance with ITB specifications or other contract requirements if the Vendor is awarded the contract.  The determination of materiality is in the sole discretion of the ICN.

1.15	Release of Claims.  With the submission of a bid proposal, Vendor agrees that it will not bring any claim or have any cause of action against ICN or the State of Iowa based on any misunderstanding concerning the information provided herein or concerning ICN’s failure, negligent or otherwise to provide the Vendor with pertinent information as intended by this ITB.

1.16	Construction of ITB with Laws and Rules.  This ITB is to be construed in light of pertinent legal requirements including Iowa Code Chapter 8D and Iowa Administrative Code Chapter 751.  Changes in applicable laws and rules may affect the award process or the resulting Contract.  Vendors are responsible for ascertaining pertinent legal requirements and restrictions.  Vendors are encouraged to visit a web site containing references to the Iowa Code and the Iowa Administrative Code for information.  A suggested address is www.legis.iowa.gov or www.icn.iowa.gov

1.17	Bid Proposal Evaluation and Award.   The ICN shall evaluate all bid proposals that are timely submitted, in accordance with the requirements set forth in evaluation Chapter 3 of this ITB.  The ICN shall not necessarily award the contract to the Vendor offering the lowest cost to the ICN.  The ICN may award a contract to the most responsible Vendor meeting the requirements of this ITB and which, in the sole discretion of the ICN, provides the best value to the State after considering price and compliance with the provisions of the ITB.

1.18	ITB Copy. Copies of the ITB will be available by sending an email request to brian.clayton@icn.state.ia.us. In addition the ITB will also be available to the public via the ICN website at www.icn.iowa.gov.

1.19	Downloading ITB from the Internet.  All amendments and responses to Vendor questions will be posted on the ICN’s website at www.icn.iowa.gov. Vendors are advised to check the ICN’s website periodically for amendments to this ITB because Vendors will not automatically receive amendments.

1.20	Definition of Contract. The full execution of a written contract shall constitute the making of a contract for services and no Vendor shall acquire any legal or equitable rights relative to the contract services until the contract has been fully executed by the successful Vendor and the ICN.

1.21	Award Notice and Acceptance Period. The ICN will send the Notice of Intent to award the contract to all Vendors submitting a timely bid proposal.  Negotiation and acceptance of the contract shall be completed with the successful Vendor no later than sixty (60) days after Notice of Intent issuance date if there are no appeals filed.  If the apparent successful Vendor fails to negotiate and deliver the executed contract by that date, the ICN may, in its sole discretion, cancel the award and award the contract to the next highest ranked Vendor. The ICN reserves the right to continue negotiations after sixty days if, in ICN’s sole discretion, ICN deems it to be in the best interests of ICN to do so.

1.22	No Minimum Guaranteed.  The ICN anticipates that the selected Vendor will provide services as requested by the ICN.  The ICN will not guarantee any minimum compensation will be paid to the Vendor or any minimum usage of the Vendor’s services.

1.22.1 Discounts based on expected volume or activity levels as shown in this ITB and used as any form of Vendor’s proposed pricing are at Vendor's risk.  ICN does not guarantee any minimum usage or volume of activity requirements.

1.23	RESERVED

1.24	Hiring of ICN Staff.  During the period from the date of issuance of this ITB until the Notice of Intent to award the contract, Vendors are prohibited from officially or unofficially making any employment offer or proposing any business arrangement whatsoever to any ICN employee, ITTC commission member, or any member of the ITB evaluation committee.  A Vendor making such an offer or proposition may be disqualified from further consideration.

CHAPTER 2

CONTRACTUAL TERMS

2.1	Contractual Terms Generally.

2.1.1	The Contract or Contracts which the ICN expects to award as a result of this Invitation to Bid will be based upon the bid proposal submitted by the successful Vendor or Vendors and this solicitation. The Contract between the ICN and any successful Vendor shall be a combination of the specifications, terms and conditions of the Invitation to Bid, including the terms contained in Attachment 2, the offer of the Vendor contained in its bid proposal, written clarifications or changes made in accordance with the provisions herein, and any other terms deemed necessary by the ICN.

2.1.2	The Contract terms contained in Attachment 2 are not intended to be a complete listing of all Contract terms but are provided only to enable Vendors to better evaluate the costs associated with the ITB and the potential resulting Contract.  Vendors should plan on such terms being included in any Contract awarded as a result of this ITB.  All costs associated with complying with these requirements should be included in any pricing quoted by the Vendor.

2.1.3	By submitting a Bid Proposal, each Vendor acknowledges its acceptance of these specifications, terms and conditions without change except as otherwise expressly stated in the appropriate section of the Bid Proposal Compliance Form (Attachment 1).  If a Vendor takes exception to a provision, it must state the reason for the exception and set forth in Attachment 1 of its Bid Proposal the specific Contract language it proposes to include in place of the provision.  Exceptions that materially change these terms or the requirements of the ITB may be deemed non-responsive by the ICN, in its sole discretion, resulting in possible disqualification of the Bid Proposal. The ICN reserves the right to either award a Contract without further negotiation with the successful Vendor or to negotiate Contract terms with the selected Vendor if the best interests of the ICN would be served.

2.2	 	Additional Cost Items Not In Contract.   ICN is unaware of any additional Contract terms that would add cost.  Notwithstanding, should any Contract items arise that would cost additional monies; those costs shall be borne by the Vendor.

2.3	Equipment Delivery Schedule.  Any equipment necessary for the Contract shall be delivered as agreed upon between the successful Vendor and the ICN.

2.4	Installation and Implementation.  Upon award of a Contract, with the guidance of ASP the ICN shall negotiate an installation and implementation schedule with the successful Vendor. Extended installation time periods may be considered when the extension is in the best interests of ICN and or ASP.

CHAPTER 3

TECHNICAL SPECIFICATIONS & REQUIREMENTS

Criteria for Compliance:  To have its bid proposal evaluated, Vendor must acknowledge that it can comply and will comply with each of the sections listed in Chapter 3.  Vendor must provide a positive response providing confirmation of compliance and when required, provide information requested and or how Vendor complies with the requirement.

  - Scope.  At the request of the Anamosa State Penitentiary (ASP), ICN is seeking bid proposals to establish a Contract with a Vendor qualified to provide technician labor and materials for horizontal  and vertical copper cable and fiber optic cable installation and termination. Cable installations will consist of both overhead cabling via false ceilings utilizing existing J-hook pathways, to include the installation of additional J-hooks as needed, as well as cable installations utilizing existing basket systems. Vendor shall confirm all four pairs of each horizontal copper cable are terminated at each corresponding workstation, label at the workstation as well as the patch panel field, and cable certification testing. The work involved shall take place within the ASP buildings identified within this ITB.

3.1.2	Exhibit B. identifies the buildings in which the cable installation will take place.  Exhibit A. identifies the estimated number of drops per building based off an internal assessment, but does not guarantee any minimum amount of work to the successful Vendor(s).

3.1.3	The work for this project shall consist of the installation of new Category 6 (CAT6) workstation cables and fiber optic cable, unless directed otherwise, to support telephones to include cable termination, cable certification testing to meet Category 6 standards, single mode fiber optic cable standards, single mode fiber optic cable splicing (if required), as well as corresponding labeling. Vendor will not transition the existing phones to the new cabling, as they will stay active until the new MVS phone system is installed and cut over, by others.

3.1.3.1	In the event it is determined a location supports more than one telephone the installation of additional workstation cables will be required.  ICN technicians will identify locations requiring more than one workstation cable.

3.1.3.2	Each 4 pair horizontal and vertical cable shall be terminated on an 8-position modular jack.  The standard pin configuration shall be T568B.

3.1.3.3 Each cable drop shall be labeled as directed in Section 3.2.5

3.1.3.3 Each cable run shall remain fully intact, splicing of copper cable runs is not allowed.

3.1.3.4  All new single mode fiber installed will be terminated, by Vendor, with fusion spliced ends. All new fiber installed to extend service to a location (i.e. the towers) will need to be spliced at the cabinet to existing single mode fiber and the entire pathway tested.

3.1.3.4.1 Vendor shall provide test results for each fiber path for ICN & DOC review and approval.

3.1.3.5 Vendor shall acknowledge that is shall not be removing nor disconnecting any existing cable. In the event the Vendor inadvertently pulls data workstation cable verses abandoned voice workstation cable, the Vendor will pull new data workstation cable at the Vendor’s expense.

3.1.3.5.1 In the event the Vendor damages a data cable during the installation, Vendor shall be responsible for repairing or replacing the cable at its cost.

3.1.3.6 All existing cabling will remain in place during this project.  All pathways required for this project will be new installations established by the Vendor.

3.1.3.7 After the new cable drops are pulled and or terminations completed, Vendor shall provide ICN a spreadsheet identifying the extension of the desk set cross referenced with the newly installed cable identifier label.

3.1.4	The hourly work for this project shall consist of installation of CAT6 cable runs, single mode fiber optic cable within the ASP buildings identified. The standard pin configuration shall be T568B.

3.1.4.1 Vendor may be asked to perform additional work as needed throughout the ASP facility.

3.1.5 	In each building Vendor shall install one (1) cable per drop (in most cases) to each workstation identified.

3.1.5.1 The ICN and or ASP staff on site, at their sole discretion, can add additional drops to the project, if, when the need arises.

3.1.5.2 If, when drops are added or deleted during cable installation, the ICN and /or ASP staff and the Vendor shall follow up the agreed upon change in writing.  If the changes are more than a simple add/delete, then the ICN and or ASP staff and Vendor shall follow the Change Order procedure identified in the following section.

3.1.5.3 If Vendor needs to core drill or attach ducts to facility walls, floor or other infrastructure, Vendor shall obtain permission from ICN or ASP personnel before doing so.

3.1.6    Change Order Procedure.  The ICN and or ASP may at any time request a modification to the scope of work described in the contract using a Change Order.  The following procedures for a Change Order shall be followed:

3.1.6.1	Written Request.  The ICN  and or ASP staff shall specify in writing the desired modifications to the same degree of specificity as in the original Scope of Services.

3.1.6.2	The Vendor’s Response.  The Vendor shall submit to the Agency a time and cost estimate for the requested Change Order within five (5) business days of receiving the Change Order Request.

3.1.6.3	Acceptance of the Vendor Estimate.  If the ICN and or ASP staff accepts the estimate presented by the Vendor within five (5) business days of receiving the Vendor’s response, the Vendor shall perform the modified services subject to the time and cost estimates included in the Vendor response.  The Vendor’s performance and the modified services shall be governed by the terms and conditions of the resulting Contract.

3.1.6.4	Adjustment to Compensation.  The parties acknowledge that a Change Order for the resulting Contract may or may not entitle the Vendor to an equitable adjustment in the Vendor’s compensation or the performance deadlines under the Contract.

  - Project Information.

3.2.1	The ICN and or ASP staff shall jointly assign, coordinate, direct, and thoroughly inspect all work.

      - Upon award, ICN and ASP personnel will conduct a kick off meeting at ASP with the selected Vendor. The meeting will allow time to get Vendor set up at the ASP facility and coordinate employee access.

      - Vendor shall acknowledge that ICN will not be on ASP site on a daily basis, as Vendor shall be under the direct supervision of ASP personnel.

      - Vendor shall acknowledge that it will be required to have periodic conference calls with ASP and ICN as deemed necessary to discuss project progress.

3.2.1.4 Due to the funding source for this project, Vendor shall confirm that the project shall be completed prior to June 1, 2024 and invoiced prior to June 15th.

3.2.2	All building telecommunications work shall meet the appropriate Electronic Industry Association/Telecommunications Industry Association (EIA/TIA) Building Telecommunications Wiring Standards.  The ICN shall thoroughly inspect all work for assurance that the work conforms to the EIA/TIA standards.  Qualified technicians, at the cost to the Vendor, shall redo all work that does not meet the EIA/TIA Standards, as well as the expectations of the ICN. In the event the Vendor disrupts connectivity or damages existing data or voice cabling while installing new, the Vendor shall repair loss of connectivity (cable repair/replacement) at the cost to the Vendor.

3.2.2.1	The EIA/TIA building telecommunications wiring standards are:

EIA/TIA-568 - Commercial Building Telecommunications Wiring Standard

TSB-36 - Technical Systems Bulletin Additional Cable Specifications for Unshielded Twisted Pair Cables

TSB-40 - Additional Transmission Specifications for Unshielded Twisted-Pair Connecting Hardware

EIA/TIA-569 - Commercial Building Standard for Telecommunications Pathways and Spaces

EIA/TIA-570 - Residential and Light Commercial Telecommunications Wiring Standard

3.2.3	Vendor shall provide telephone/data technicians whose skill sets include, but are not limited to, installation, inside and outside building cable pulling, cable termination, cable certification testing, and labeling, all consistent with current industry standards, as well as conduit installation meeting EIA/TIA standards.

3.2.3.1	All telephone/data technicians provided by the Vendor shall be a person who is a general cable installer with at least one (1) year experience in the installation of copper voice and data cabling.

3.2.4	The Vendor or its technicians(s) shall provide all tools, installation materials and test equipment types required to complete this project.

3.2.4.1	Vendor shall also provide items such as jacks, cable, patch cords, hardware conduit, etc., and similar types of materials during this project as further listed in Exhibit A – Materials Location and Identification.

3.2.4.1.1 CAT6 cable, boxes, plates and terminations shall be Panduit.

3.2.4.1.1.1 Vendor shall confirm its understanding that all cable runs shall be tested.  If the cable run does not pass testing, vendor shall be required to replace the cable run at no cost to ICN or ASP.

3.2.4.1.2 Vendor shall continue the cable color scheme used within the ASP buildings which is blue for voice.

3.2.4.1.3 Surface mount raceway shall be Legrand or Wiremold, however, any new installed surface mount raceway shall match any raceway that is currently installed in the room.

3.2.4.1.4 Job box or trailer placement shall require approval of ASP. Where able, ASP may provide space for a job box, which may or may not reside inside the building which the vendor is working. Vendor may be allowed to have a job trailer onsite, outside the secured perimeter, placement to be approved by ASP.

3.2.4.2	Security of tools and test equipment shall be the responsibility of the Vendor and each worker. The ICN and ASP shall not be responsible for the security of any property left on site or on property controlled by the ICN, ASP or the State of Iowa.

3.2.5	The Vendor must furnish and utilize a Brother P-touch label maker(s) and labels, in order for the labeling to remain consistent throughout the ASP facility. Vendor shall use the labeling system of Building # = Cabinet # = Station cable #, example: 2-3-46 / building-2 – cabinet-3 – station cable 46

3.2.5.1 All P-touch labeling for the newly installed CAT6 must be Black Print on Red Tape 9mm, Part Number TZe-421

3.2.5.2 All P-Touch labeling for fiber optic cabling installed must be Black Print on Orange Tape ¾ inch Part Number TZe-B41

3.2.6	Vendor shall confirm that ICN reserves the right to use additional vendors if workload or specialized situations dictate.

3.2.7	Quality Control Check.  The ICN requires cable certification testing for all copper and fiber optic cable installations, test results must be provided to the ICN project manager in both, electronic and hard copy form.  The ICN also requires wiring drawings (when provided to Vendor by ICN) must be updated to reflect the location as well as any changes and all feed points made to the installation and provide in both, electronic and hard copy form.  The ICN will require acceptance testing and a quality control check of the wiring before the Vendor is paid for the work performed.

3.2.8	State of Iowa employees and inmates will occupy the project work site for the duration of the project.  Project work shall be planned and carried out in a manner that will cause as few disruptions as possible to the State of Iowa employees, inmates and retain facility security. The ICN will negotiate project work and scheduling with the Vendor and ASP to minimize disruptions.  Vendor shall schedule all work in advance with the ICN and or ASP.

3.2.9	Work shall primarily take place during regular business hours, between 6:30am and 3:00pm; unless ICN and or ASP determines it is necessary to work outside of regular business hours.  Vendor shall not work after-hours without prior approval, in writing, from the ICN and or ASP.

3.2.9.1 The ICN and or ASP reserves the right to stop work at our discretion at any given time. Vendor shall confirm its understanding that work may be stopped or rescheduled if an agency requests it due to disruption during the cable installation or ICN and or ASP has a change in scope.  The ICN and or ASP and Vendor will discuss any potential for delay and will coordinate the stop and restart timing of the project as necessary.

3.2.9.2 The Vendor is responsible for providing enough manpower to complete necessary work, within the time frames as scheduled by the ICN and or ASP.

3.2.10	Parking for Vendor technician vehicles may be available by designation, but remains the responsibility of the Vendor and the technician.

3.2.10.1 Vendor shall confirm that the vehicle entrance to ASP closes at 3PM. If after hours work has been approved, Vendor shall be required to have its vehicles outside the secured area, prior to 3pm.

3.2.11	The Vendor shall be responsible for instructing its employees in safety measures considered appropriate for the job.  In addition, the Vendor shall not permit placing or use of tools or materials in traffic lanes or other locations. Vendor shall instruct and ensure technicians not place tools or materials in such a manner as to create safety hazards to State employees, contracting agency employees, the inmates, or themselves.

3.2.11.1 The Vendor’s technicians shall clearly identify hazards by providing and appropriately placing safety cones. Hazards to include, but not limited to, exposed floor trays, headers, and cable boxes placed on the floor during cable installation.

3.2.12 Cameras and cell phones are prohibited unless approved by the ASP Warden.  If the awarded Vendor believes they are needed during the project, an advance request must be received and approved by ASP Warden.

3.2.12.1 No Smart watches are allowed at any times.

3.2.13	Vendor will be required to adhere to the following standard operating procedures for this project.

3.2.13.1 Vendor shall identify points of contact that are empowered to make decisions for the Vendor, after project award.

3.2.13.1.1 Vendor shall identify one point of contact that will work with the ICN Project Manager, at a high level, to schedule work, address concerns, and work out potential issues.

3.2.13.1.2 Vendor shall identify one point of contact that will work on-site with the ICN TAC Team Leader or other ICN designee and or ASP staff, to schedule work, address concerns, and work out potential issues.

3.2.13.1.3 Vendor shall identify one point of contact that will work the daily activity schedule with the assigned ICN site contact and or ASP staff.  (Note: these people may change daily for both the Vendor, ASP staff and the ICN.)

3.2.13.2	Technicians, upon arrival to work location each day, must check in with ICN or ASP site contact before beginning work.

3.2.13.3	Technician must check out daily with ICN or ASP site contact before leaving work site.

3.2.13.4	Upon project completion, Vendor must review work with the ICN or ASP site contact.

3.3	Vendor Information.

3.3.1	Vendor must provide the following information regarding its Experience:

3.3.1.1 Number of years in business.

3.3.1.2 Number of years’ experience with communications cabling and equipment.

3.3.1.3 In an effort to ensure Vendor is able to make timely progress with a project, Vendor shall identify the number of technicians it can allocate to a project at any given time.

3.3.1.3.1 Vendor shall acknowledge that its employees shall be escorted and monitored during the work progress.

3.3.2	Vendor must provide the following information regarding its personnel:

3.3.2.1 Vendor must provide resumes for all key personnel including the technicians who will be involved in providing the services contemplated by this ITB. The following information must be included in the resumes:  full name, education, years of experience and employment history particularly as it relates to the scope of services specified herein (including product experience and certification).

3.3.2.2 Vendor shall confirm it agrees to cooperate with necessary background checks of technicians that are proposed to work within ASP.  Vendor technicians may be required to work with an agency that regularly accesses sensitive information and therefore sets minimum standards for all persons who can access that sensitive information and who will be expected to maintain the confidentiality of that sensitive information. Depending on the building working in and that of the specific agency, the level of background check will differ.  Once a Vendor is selected the background check(s) will take place.  A technician will only be submitted to each background check level once, unless special circumstances arise.  ICN may, in its sole discretion, determine that information learned through the background check process disqualifies a technician from working in the ASP facilities.  Vendor shall confirm that it understands such determinations are final and not subject to appeal.

3.3.2.2.1 All technicians working on this project must pass a Level I background check. Issues such as, but not limited to: domestic abuse, sex offender registry or other violent crimes may preclude a Vendor technician from being accepted to work in ASP facilities.

3.3.2.2.2 All technicians tasked to work within ASP facilities must pass a background check which utilizes various state and federal databases. The Contractor’s Background Information form is attached as Exhibit C.  The awarded Vendor shall be required to provide a form for each technician proposed to work on the ASP facility.

3.3.2.2.2.1 All information related to the background checks will be held confidential between Vendor, Vendor’s technician, the Anamosa State Penitentiary personnel shall be conducting the background check to the greatest extent permitted by Iowa law.

3.3.2.2.2.2 Vendor shall confirm its understanding that if it does not have enough technicians pass the background check, the project award may be revoked.

3.3.2.2.3 Vendor shall confirm its understanding that it will be working within a maximum/medium security penitentiary and shall keep all actions or information observed within the facility confidential. Vendor understands that any willful inspection (browsing) of office records may be cause for removal of the Vendor’s employee from the project and potential termination of the project award. All technicians working on this project must sign a Statement of Confidentiality and Nondisclosure.

3.3.2.2.4 Vendor shall confirm its understanding that the ICN and or ASP reserves the right to remove a Vendor technician from the project if the technician does not perform as required, violates the safety and or security of the facilities they are working in or as requested by ASP.

3.3.2.3	Vendor shall provide technicians who have a minimum of one (1) year on-the-job experience.  Education is exchangeable for experience (at a rate of 3 months of training for 1 month of experience), subject to approval of the ICN.  All workers shall be knowledgeable in the following items:  (1) the electrical codes that effect commercial buildings, (2) standard telephone and data installation practice and (3) asbestos awareness training.

3.3.2.4	State number of technicians with asbestos awareness training and confirm the technicians will be working in the buildings identified with asbestos.

3.3.2.5	Vendor shall acknowledge that the ASP facility due to its building materials may expose the Vendor technicians to silica and Vendor shall take necessary precautions when core drilling or affixing duct to stone infrastructure.

3.3.2.6	Vendor shall provide technicians certified at a minimum of Category 6 cable installation and termination.

3.3.2.7	The Vendor shall comply with all OSHA regulations.  The Vendor shall follow all applicable State and Federal laws.

3.3.2.8	    Escort Requirements during project installation: Vendor should expect to have all technicians escorted, in some manner, at all times.

3.3.2.8.1	Vendor shall confirm its understanding that Vendor technicians may be working in areas where technicians will NOT be separated from inmates.

      - Dress Code Restrictions:  Technicians should NOT wear red or navy t-shirts.

    - Vendor must provide the following financial information:

3.3.3.1	Provide a minimum of three (3) financial references. For sole proprietors or partnerships, these may be personal financial references for the proprietor or the partners.

3.3.4    Vendor must provide the following business information:

3.3.4.1	Provide a minimum of three (3) business references.  For sole proprietors or partnerships, these may be personal business references for the proprietor or the partners.

3.3.4.2	During the last five (5) years, has Vendor had a contract for services terminated for any reason?  If so, provide full details related to the termination.

3.3.5	Vendor must provide the following legal or administrative information:

3.3.5.1	During the last five (5) years, describe any damages or penalties of anything of value traded or given up by Vendor under any of its existing or past contracts as it relates to services performed that are similar to the services contemplated by this ITB and the resulting Contract.  If so, indicate the reason for the penalty or exchange of property or services and the estimated account of the cost of that incident to the Vendor.

3.3.5.2	During the last five (5) years, describe any order, judgment, or decree of any Federal or State authority barring, suspending or otherwise limiting the right of the Vendor to engage in any business, practice or activity.

[balance of page intentionally left blank]

3.4	Project Cost Components:

3.4.1	Labor Rates, Support, and All Other Related Expenses.  Unemployment insurance, workers’ compensation, sick leave, vacation and all other benefits are the responsibility of the Vendor.  Support and all other related expenses are the responsibility of the Vendor.  ICN shall pay the Vendor  an per hourly rate based on business hour and after-hour work and for materials used to complete the project.  The ICN shall not pay mileage, motel expenses, or per diem.

3.4.2 	Within the Excel spreadsheet marked Exhibit A, Vendor will find information developed after an audit of the ASP buildings which will enable a Vendor to assemble an estimate dollar amount of the materials needed and timeline for project completion.

3.4.2.1 Within Exhibit A Vendor will find columns that will aggregate the materials we identify as needed within each building.  Each column has a total footage or quantity of that particular material.  Under each column Vendor shall provide an estimated cost for that particular material quantity.

3.4.2.2 Based upon the ITB information and that within Exhibit A, Vendor shall provide the following:

Table 1:

| Total Estimated Hours to complete the project (prior to June 1, 2024): |  |  |  |
| --- | --- | --- | --- |
| Total Labor cost for the hours to complete the project: $ |  |  |  |
| Aggregate total of materials cost identified in Exhibit A: $ |  |  |  |
| Individual rates: |  |  |  |
| Technician Hourly Rate (technician) |  | $ per hour |  |
| Technician Hourly Rate (supervisor) |  | $ per hour |  |
| CAT6 Cable: (see Notes) | Fixed Price per 1,000’ |  | $ |
|  | % Mark Up from Vendor Cost |  | % |
|  | Baseline for % mark up |  | $ |
| Installation Materials: | % Mark Up from Vendor Cost |  | % |

Notes: Vendor may bid the CAT6 cable in one of two different ways: either a fixed price, for the duration of the project, per 1,000’ or a % above Vendor’s cost.

- If Vendor proposes a percentage (%) mark up on the cable, Vendor shall also provide the current baseline price per 1,000’ at the time of the quote.

- Included with any invoicing, Vendor shall provide ICN a copy of its materials purchase to corroborate the % mark up.

- Vendor can add additional cost components to provide additional detail.

CHAPTER 4

##### EVALUATION CRITERIA

4.1	Award Process.

4.1.1	An evaluation committee assigned by personnel within the ICN and ASP will review the bid proposals.  The evaluation committee will consider all information provided when making its recommendations and may consider relevant information from other sources.

4.1.2	The evaluation committee will make recommendations to the Executive Director of the ICN indicating the committee’s choices for each of the types of services requested in this ITB.  The Executive Director will select the Vendor to receive the award.  The Executive Director is not bound by the committee’s recommendations.  All Vendors submitting Bid Proposals will receive a copy of the Notice of Intent to Award a Contract.

4.1.3	All applicable contracting requirements imposed by this ITB and Iowa law shall be met by the Vendor.  The successful Vendor must, in a timely manner, enter into a Contract with the ICN to implement the service contemplated by this ITB.  Failure of a successful Vendor to agree to the terms of a Contract within a timely manner may be grounds for the ICN to award to the next compliant Vendor.

4.2	Evaluation Criteria.

4.2.1	A Bid Proposal will not be evaluated if all of the Technical Requirements and Specifications identified in Chapter 3 are not met and/or fulfilled.

4.2.2	The ICN may award the Contract to the most responsible Vendor meeting the requirements of this ITB and which, in the sole discretion of the ICN and ASP, provides the best value to the State after considering number of Vendor technicians, estimated installation time frame, materials mark up, price and compliance with the provisions of Chapter 3.

ATTACHMENT 1

PROPOSAL COMPLIANCE FORM

ITB 23-001

Vendor affirms that the information contained in the bid proposal is true and accurately portrays all aspects of the goods or services or both contemplated by this ITB. The Vendor is aware that any substantive misinformation, misrepresentation or inability to meet the identified mandatory requirements may disqualify the bid proposal from further consideration. Vendor hereby certifies total compliance with all other terms, conditions and specifications of this ITB except as expressly stated below:

Chapter 1, Administrative Issues. __________________________________________________________________________________________________________________________________________________________________________

Chapter 2, Contractual Terms (includes Attachment 2).

__________________________________________________________________________________________________________________________________________________________________________

Chapter 3, Technical Requirements and Specifications. __________________________________________________________________________________________________________________________________________________________________________

Chapter 4, Evaluation Criteria. __________________________________________________________________________________________________________________________________________________________________________

I certify that I have the authority to bind the Vendor indicated below to the specific terms and conditions imposed in this ITB and offered in this bid proposal, and that by my signature on this document I specifically agree to all of the waivers, restrictions and requirements of this ITB as conditions precedent to submitting this proposal.  I further state that in making this bid proposal that the Vendor has not consulted with others for the purpose of restricting competition or violating State or Federal anti-trust laws and has not knowingly made any false statements in this proposal.

Authorized Signature:

Printed Name:

Title:

Telephone:

Fax Number:

E-Mail:

Business Name:

Address:

Federal ID Number:

BID PROPOSAL COMPLIANCE FORM Page 2 of 2 Vendor providing bid proposal must complete each section of this Attachment and submit as part of its bid proposal.

Vendor Name (including all d/b/a or assumed names or other operating names of the Vendor: Address: Phone: Fax: Form of business entity, i.e., corporation, partnership, proprietorship, limited liability company: Number of employees: Local office address that relates to the Vendor’s performance under the terms of this ITB (if different from above): Phone / Fax: Fax: Vendor accounting firm: State of incorporation (if a corporation). State of formation (if a limited liability company or a limited partnership): _______________________________________________________________________________________ The successful Vendor will be required to register to do business in Iowa. If already registered, provide the date of the Vendor’s registration to do business in Iowa. Person to Contact Regarding This Bid Proposal: Address: Phone / Fax: E-Mail: Person to Contact Regarding Service Scheduling and Other Arrangements: Address: Phone / Fax: E-Mail:

ATTACHMENT 2

## TERMS AND CONDITIONS

ITB 23-001

SECTION 1.      IDENTITY OF THE PARTIES.

1.1	The Iowa Communications Network (ICN) is authorized by Iowa Code Chapter 8D to operate a communications network in the State of Iowa.  The ICN’s address is Grimes State Office Building, 400 East 14th Street, Des Moines, IA 50319.

1.2	Vendor is a corporation qualified to provide Transit Services and is authorized to conduct business in the State of Iowa.  Vendor’s address is ____________________________________.

SECTION 2.	PURPOSE.  The parties have entered into this Agreement for the purpose of Vendor providing labor and materials for cable installation and termination, within the Anamosa State Penitentiary.

SECTION 3.	TERM.

3.1	The Agreement shall have an initial Term of one (1) year and have five (5) one-year renewals to be used at the discretion of the parties.

3.2	This Agreement is effective upon signature by both Parties.

SECTION 4.	DOCUMENTS INCORPORATED BY REFERENCE.

4.1	Incorporation of Bid Proposal Documents.  The Invitation to Bid (ITB) 23-001 and the Vendor’s Bid Proposal in response to this ITB, together with any clarifications, attachments, appendices, amendments or other writings of the ICN or the Vendor (collectively Bid Proposal) are incorporated into this Agreement by this reference as if fully set forth in this Agreement.

4.2	Contractual Obligations of Vendor.  The terms and conditions of the Bid Proposal and of the ITB are made contractual obligations of the Vendor.

4.3	Contents of Agreement.  The parties acknowledge that this Agreement consists of this document as well as the ITB and the Bid Proposal and that the parties are obligated to perform as set forth in the ITB and the Bid Proposal to the same extent that they are obligated to perform the specific duties set forth in this document.

4.3.1	Order of Preference.  In the case of any inconsistency or conflict between the specific provisions of this document, the ITB or the Bid Proposal, any inconsistency or conflict shall be resolved as follows:

      - First, by giving preference to the specific provisions of this Agreement.

      - Second, by giving preference to the specific provisions of the ITB.

      - Third, by giving preference to the specific provisions of the Bid Proposal.

4.4	Intent of References to Bid Documents.  The references to the parties' obligations, which are contained in this document, are intended to change, supplement or clarify the obligations as stated in the ITB and the Bid Proposal.  The failure of the parties to make reference to the terms of the ITB or Bid Proposal in this document shall not be construed as creating a conflict and will not relieve the Vendor of the contractual obligations imposed by the terms of the ITB and the Bid Proposal.  Terms offered in the Bid Proposal, which exceed the requirements of the ITB, shall not be construed as creating an inconsistency or conflict with the ITB or this document.  The contractual obligations of the ICN cannot be implied from the Bid Proposal.

SECTION 5.	DEFINITIONS.  The following words shall have the meanings set forth below.  Words in the singular shall be held to include the plural and vice versa, and words of gender shall be held to include the other gender as the context requires.  For the purposes of this Contract, the following terms and all other terms defined in this Contract shall have the meanings so defined unless the context clearly indicates otherwise.

5.1	       “State” shall mean the State of Iowa and all of its departments, agencies, boards, and commissions, including the ICN.

5.2	“ICN” shall mean the Iowa Telecommunications and Technology Commission operating the Iowa Communications Network.

5.3	“Vendor” shall mean __________________________________

5.4	“Agreement” or “Contract” shall mean this document and any amendments to this document or any other documents incorporated by reference.

5.5	“TAC” shall mean Technical Assistance Center.

SECTION 6.	SCOPE OF WORK.

6.1	Scope of Services.

6.1.1.	The services to be performed pursuant to and as a result of this Agreement by the Vendor are described on Schedule A attached to and made part of this agreement by this reference.

6.1.2	The Vendor shall prepare and deliver specifications to the ICN which will detail the design, technical and functional capabilities, look and feel, and other attributes related to the project, all as more fully described in Schedule A.

6.2	Amendments to Scope of Services and Specifications.  The parties agree that Schedule A, Scope of Services, and the specifications, may be revised, replaced, amended or deleted at any time during the term of this Agreement to reflect changes in service or performance standards upon the mutual written consent of the parties.

6.3	Industry Standards.  Services rendered pursuant to this Agreement shall be performed in a professional and workmanlike manner in accordance with the terms of this Contract and with generally acceptable industry standards of performance for similar tasks and projects.  In the absence of a detailed specification for the performance of any portion of this Agreement the parties agree that the applicable specification shall be the generally accepted industry standard. As long as the ICN notifies Vendor promptly of any services performed in violation of this standard, Vendor will re-perform the services, at no cost to ICN, such that the services are rendered in the above-specified manner.

6.4	Non-Exclusive Rights.  This Agreement is not exclusive.  The ICN reserves the right to select other Vendors to provide services similar or identical to the Scope of Services described in this Agreement during the term of this Agreement.

6.5	Staffing.  The ICN reserves the right to disapprove any employee of Vendor who is assigned to provide services pursuant to this Agreement or to request Vendor to remove an employee from providing services pursuant to this Agreement at any time during the Agreement’s duration if the employee fails to perform as required by Vendor and/or ICN, which includes adherence to State of Iowa work rules and policies including background checks and training requirements.

6.6	The Contract shall be available to all State of Iowa agencies, institutions, universities, schools, and political subdivisions.

SECTION 7.	COMPENSATION.

7.1	Payment Terms.  The Vendor shall identify services rendered and submit itemized invoices for amounts owed on a monthly basis.  ICN shall pay all approved invoices in arrears and in conformance with Iowa Code.  ICN may pay invoices in less than 60 days as provided in Iowa Code; however, an election to pay in less than sixty (60) days shall not act as an implied waiver of Iowa Code.  Any sums owed to ICN by the Vendor shall be itemized and deducted from the Vendor’s invoice prior to submission.  Notwithstanding anything herein to the contrary, ICN shall have the right to dispute any invoice submitted for payment and withhold payment of any disputed amount if ICN believes the invoice is inaccurate or incorrect in any way.  Invoices shall be submitted to ICN Finance – Accounts Payable, Grimes State Office Building, 400 East 14th Street, Des Moines, IA 50319.

7.2	Pricing.  The pricing matrix shall be described in Schedule A.  The parties agree that the pricing may be revised, replaced, amended or deleted at any time during the term of this Agreement upon the mutual written consent of the parties.

7.2.1	If Vendor fails to submit an invoice within 60 days after shipment of the goods or provision of the service pursuant to this Contract, the ICN shall be excused from any liability owing to the Vendor and shall not pay invoices submitted after the 60th day.  Additionally, ICN must receive all fiscal year invoices no later than July 15.  ICN shall be excused from any liability owing to the Vendor and shall not pay invoices submitted after July 15.

7.3    	Reimbursable Expenses.  There shall be no reimbursable expenses associated with this Agreement separate from the compensation referred to in this section.  Vendor shall be solely responsible for all costs and expenses, including, but not limited to, travel, mileage, meals, lodging, equipment, supplies, personnel, training, salaries, benefits, insurance, conferences, long distance telephone, and all other costs and expenses of Vendor.

7.4		Set Off.  In the event that Vendor owes ICN or the State of Iowa any sum under the terms of this Contract, any other Contract, pursuant to any judgment, or pursuant to any law; ICN may set off the sum owed to ICN or the State against any sum billed to ICN by the Vendor in ICN’s sole discretion unless otherwise required by law.  The Vendor agrees that this provision constitutes proper and timely notice under the law of setoff.

7.5	Delay of Payment Due To Vendor's Failure.  If the ICN in good faith determines that the Vendor has failed to perform or deliver any service or product as required by this Contract, the Vendor shall not be entitled to any compensation under this Contract until such service or product is completed or delivered.  In the event of partial performance, the ICN may withhold that portion of the Vendor’s compensation, which represents payment for the unsatisfactory services.

7.6	The Vendor shall audit the invoices presented to the ICN to ensure that they are proper, current and correct.  The Vendor has 30 days from the date of invoice to present and resolve any discrepancies with the ICN.  The Vendor shall notify the ICN of any and all discrepancies that the audit(s) reveals.

SECTION 8.  INSURANCE.

8.1	Coverage Requirements.  The Vendor, and any subcontractors performing the services required under this Agreement, shall maintain in full force and effect, with insurance companies authorized to transact the business of insurance in this state, at its own expense, insurance covering its work during the entire term of this Agreement and any extensions or renewals thereof.  The insurance shall be of the type and in the amounts as reasonably required by the ICN.  The Vendor’s insurance shall, among other things, insure against any loss or damage resulting from or related to the Vendor’s performance of this Agreement.  All such insurance policies should remain in full force and effect for the entire life of this Agreement and shall not be canceled or changed except with the advance written approval of the ICN.

8.2	Types of Coverage.  Unless otherwise requested by the ICN, Vendor shall, at its sole cost, cause to be issued and maintained during the entire term of this Agreement (and any extensions or renewals thereof) the insurance coverages set forth below, each naming the State of Iowa and the ICN additional insureds or loss payees, as applicable:

| Type | Amount |
| --- | --- |
| Workers Compensation and Employer Liability | As Required By Iowa Law |
| General Liability (including contractual liability) written on an occurrence basis |  |
| GENERAL AGGREGATE | $3 million |
| PRODUCT LIABILITY | $1 million |
| PERSONAL INJURY | $1 million |
| COMPREHENSIVE AGGREGATE | $1 million |
| EACH OCCURRENCE | $1 million |
| Automobile Liability, including any auto, hired autos and non-owned autos COMBINED SINGLE LIMIT | $1 million |

8.3	Coverage for State Property on Vendor Premises.  The policies shall provide coverage for damages to the State’s property, which occurs on the Vendor’s premises or premises under the control of the Vendor or Vendor’s subcontractors.

8.4	Claims Made Coverage.  All insurance policies required by this Agreement must provide coverage for all claims arising from activities occurring during the term of the policy regardless of the date the claim is filed or expiration of the policy.

8.5	Notice Regarding Cancellation.  Certificates of insurance, which provide that the ICN will be notified at least thirty (30) days prior to cancellation of the coverage required by this Agreement must be provided by the Vendor and any subcontractors to the ICN at the time of execution of the Agreement or at a time mutually agreeable to the parties.

8.6	No Limitation of Liability.  The receipt of insured certificates by the ICN does not constitute approval of the coverage contained in the certificates, and the Vendor remains responsible for determining that its insurance coverage meets each and every requirement of this Agreement. Acceptance of the insurance certificates by the ICN shall not act to relieve the Vendor of any obligation under this Agreement.  Only companies authorized to transact business of insurance in this state shall issue the insurance policies and certificates required by this Section.  It shall be the responsibility of the Vendor to keep the respective insurance policies and coverages current and in force during the life of this Agreement.

8.7	Warranty.  The Vendor warrants that it has examined its insurance coverage to determine that the State of Iowa and the ICN can be named as additional insured without creating an adverse effect on the Vendor's coverage.

8.8	Waiver of Subrogation Rights.  The Vendor shall obtain a waiver of any subrogation rights that any of its insurance carriers might have against State of Iowa and the ICN.  The waiver of subrogation rights shall be indicated on the certificates of insurance coverage supplied to the ICN.

SECTION 9.	CONFIDENTIAL INFORMATION.

9.1	During the course of this Agreement each party may disclose, to the other either directly or indirectly, certain data which is proprietary which shall be referred to as "Confidential Information" of the disclosing party and which must remain confidential.  Confidential Information may include without limitation, among other things, such items as security information, user information, data, knowledge, trade secrets and other proprietary information, methodologies, developments, software, software documentation, inventions, processes, and other nonpublic information in oral, graphic, written, electronic or machine-readable form.

9.2	The parties acknowledge that information and material in the hands of the ICN is generally public information unless it is specifically allowed by law to be maintained as Confidential Information.

9.3	The parties acknowledge that some information in the hands of the ICN is strictly confidential and is not subject to release as a matter of law.  The Vendor shall abide by all such statutory provisions when handling sensitive ICN information identified as confidential.

9.4	All written or electronic Confidential Information shall be clearly marked as Confidential Information by the party providing the Confidential Information at the time of disclosure to the other party.

9.5	If the Confidential Information is disclosed orally, and reduced to writing, the receiving party must treat the information as Confidential Information.

9.6	The Vendor shall limit such identification to information it reasonably believes it is entitled to confidential treatment pursuant to Iowa Code Chapter 22 or other applicable law.

9.7	In the event a public records request is made to the ICN pursuant to Iowa Code Chapter 22, regarding the Confidential Information of the Vendor, the ICN shall immediately notify the Vendor of the request by telephone and fax.  The ICN will respond to the request for information in compliance with IAC Chapter 22 with a release of the information unless the Vendor has obtained an injunction preventing release of the requested information

9.8	The obligations of this Agreement do not apply to Confidential Information which:

9.8.1	Was rightfully in the possession of the receiving party from a source other than the disclosing party prior to the time of disclosure of the Confidential Information to receiving party.

9.8.2	Was known to the receiving party prior to the disclosure of the Confidential Information from the disclosing party;

9.8.3	Was disclosed to the receiving party without restriction by an independent third party having a legal right to disclose the Confidential Information;

9.8.4	Becomes public knowledge, other than through an act or failure to act of the disclosing party;

9.8.5	Is publicly available or in the public domain when provided;

9.8.6	Is independently developed by the disclosing party; or

9.8.7	Is disclosed pursuant to law, subpoena or the order of a court or government authority.

9.9	The parties shall have the following duties relating to the Confidential Information:

9.9.1	The Vendor shall designate one individual who shall remain the responsible authority in charge of all data collected, used or disseminated by the Vendor in connection with the performance of this Agreement.  The Vendor shall accept responsibility for providing adequate supervision and training to its agents and employees to ensure compliance with the terms of this Agreement.  The private and confidential data shall remain the property of the ICN at all times.

9.9.2	The Confidential Information of either party shall be held in strict confidence by the receiving party and shall not be disclosed or used by the receiving party without the prior written consent of the disclosing party, except as provided in this Agreement or as may be required by law pursuant to available confidentiality restrictions.

9.9.3	The parties shall use their best efforts to protect the Confidential Information in its possession.

9.9.4	The parties shall restrict disclosure of the Confidential Information solely to those of its employees, agents, consultants and attorneys with a need to know in order to accomplish the purpose of this Agreement.

9.9.5	The parties shall protect the Confidential Information from disclosure to or access by unauthorized persons.

9.9.6	The parties shall use the Confidential Information solely for the purpose of this Agreement and for no other purpose.

9.9.7	The parties shall not duplicate the Confidential Information in any form, except as may be necessary to accomplish the purpose of this Agreement.

9.9.8	The parties shall advise each of its employees, agents, consultants and attorneys who receive the Confidential Information of the obligations of confidentiality and restrictions on the use set forth in this Agreement.

9.9.9	The parties shall immediately return the Confidential Information and all copies of the information, to each other upon the earlier of the expiration of the need for the information or the termination of this Agreement in order to accomplish the purpose.

9.10	The provisions of this Agreement shall apply to all Confidential Information disclosed by the parties to each other over the course of this Agreement.  The parties' obligations under this provision shall survive expiration and termination of this Agreement and shall be perpetual.

9.11	The Vendor shall indemnify the ICN for a violation of this Section.  The Vendor shall notify the ICN prior to the destruction of these materials and shall provide the ICN with the opportunity for proper destruction of these materials.

9.12	No Confidential Information will be exported to any country in violation of the United States Export Administration Act and the regulations thereunder.

SECTION 10.	VENDOR WARRANTIES.

10.1	Construction of Warranties Expressed in this Agreement with Warranties Implied by Law.  All warranties made by the Vendor in all provisions of this Agreement and the bid proposal by the Vendor, whether or not this Agreement specifically denominates the Vendor's promise as a warranty or whether the warranty is created only by the Vendor's affirmation or promise, or is created by a description of the materials and services to be provided, or by provision of samples to the ICN, shall not be construed as limiting or negating any warranty provided by law, including without limitation, warranties which arise through course of dealing or usage of trade.  The warranties expressed in this Agreement are intended to modify the warranties implied by law only to the extent that they expand the warranties applicable to the goods and services provided by the Vendor.

10.2	The Vendor warrants that all the concepts, materials produced, the work product and the information, data, designs, processes, inventions, techniques, devices, and other such intellectual property furnished, used, or relied upon by the Vendor or the ICN will not infringe any copyright, patent, trademark, trade dress, or other intellectual property right of the Vendor or others.  Any intellectual property provided to the ICN pursuant to the terms of this Agreement, shall be wholly original with the Vendor or the Vendor has secured all applicable interests, rights, licenses, permits, or other intellectual property rights in such concepts, materials and work.

10.3	The Vendor represents and warrants that the concepts, materials and the ICN’s use of same and the exercise by the ICN of the rights granted by this Agreement shall not infringe upon any other work, other than material provided by the ICN to the Vendor to be used as a basis for such materials, or violate the rights of publicity or privacy of, or constitute a libel or slander against, any person, firm or corporation and that the concepts, materials and works will not infringe upon the copyright, trademark, trade name, literary, dramatic, statutory, common law or any other rights of any person, firm or corporation or other entity.

10.4	The Vendor warrants that all of the services to be performed pursuant to this Agreement will be rendered using sound, professional practices and in a competent and professional manner by knowledgeable, trained and qualified personnel.

10.5	The Vendor warrants that the deliverables under this Agreement will operate in conformance with the terms and conditions of this Agreement.

10.6	The Vendor warrants that it has full authority to enter into this Agreement and that it has not granted and will not grant any right or interest to any person or entity which might derogate, encumber, or interfere with the rights granted to the ICN.

10.7	The Vendor warrants that all obligations owed to third parties with respect to the activities contemplated to be undertaken by the Vendor pursuant to this Agreement are or will be fully satisfied by the Vendor so that the ICN will not have any obligations with respect to such obligations.

10.8	The Vendor warrants that it is the owner of or otherwise has the right to use and distribute the software, the materials owned by the Vendor and any other materials, and methodologies used in connection with providing the services contemplated by this Agreement.

10.9	The Vendor expressly warrants to the standards in the industry all aspects of the goods and services provided by it or used by the Vendor and the ICN in performance of this Agreement.

10.10	The Vendor unconditionally warrants that all equipment supplied and installed for the purpose of fulfilling its obligations under this Agreement are fit for the purpose intended, that it complies with industry standards and that the equipment is compatible with the State’s equipment.

SECTION 11.	INDEMNIFICATION BY VENDOR.  The Vendor agrees to defend, indemnify and hold the ICN, and the State of Iowa, its employees, agents, board members, appointed officials and elected officials, harmless from any and all demands, debts liabilities, damages, loss, claims, suits or actions, settlements, judgments, costs and expenses, including the reasonable value of time expended by the Attorney General's Office, and the costs and expenses and attorney fees of other counsel required to defend the ICN or the State of Iowa related to or arising from:

11.1	Any violation or breach of this Agreement including without limitation any of the Vendor’s representations or warranties; or

11.2	Any acts or omissions, including, without limitation, negligent acts or omissions or willful misconduct of Vendor, its officers, employees, agents, board members, contractors, subcontractors, or counsel employed by Vendor in the performance of this Agreement, or any other reason in connection with the goods and services provided under this Agreement; or

11.3	Claims for any violation of any intellectual property rights including but not limited to infringement of patents, trademarks, trade dress, trade secrets, or copyrights arising from the any of the goods or service performed in accordance with this Agreement; or

11.4	The Vendor's performance or attempted performance of this Agreement; or

11.5	Any failure by the Vendor to comply with all local, State and Federal laws and regulations; or

11.6	Any failure by the Vendor to make all reports, payments and withholdings required by Federal and State law with respect to social security, employee income and other taxes, fees or costs required by the Vendor to conduct business in the State of Iowa.

11.7	The Vendor’s duty to indemnify as set forth in this Section shall survive the expiration or termination of this Agreement and shall apply to all acts taken in the performance of this Agreement regardless of the date any potential claim is made or discovered by the ICN.

SECTION 12.	TERMINATION.

12.1	Termination For Lack Of Authority or Funding.  Notwithstanding anything in this Agreement to the contrary and subject to the limitations, conditions and procedures set forth below, the ICN shall have the right to terminate this Agreement without penalty and without any advance notice as a result of any of the following for which ICN will provide the Vendor with written notice of cancellation:

12.1.1	The Legislature or Governor fails, in the sole opinion of the ICN, to appropriate funds sufficient to allow the ICN, or any state agency or department charged with responsibility to perform any of the ICN’s obligations under this Agreement, to either meet its obligations under this Agreement or to operate as required to fulfill its obligations under this Agreement; or

12.1.2	If funds are de-appropriated, not allocated or if the funds needed by the ICN, in the ICN’s sole discretion, are insufficient for any other reason; or

12.1.3	If the ICN’s, or any responsible State agency’s or department’s authorization to conduct its business is withdrawn or there is a material alteration in the programs or any other program the ICN administers; or

12.1.4	If the ICN’s duties are substantially modified.

12.2	Termination for Cause.  The ICN may terminate this Agreement upon written notice for the substantial breach by Vendor of any material term if such breach is not cured by Vendor within the time period specified in the ICN’s notice of breach or any subsequent notice or correspondence delivered by the ICN to Vendor.  If a cure is feasible and an opportunity to cure is provided, the notice shall specify the exact date by which the condition must be cured.  Following expiration of the opportunity to cure or notice from the ICN, the ICN may seek any legal or equitable remedy authorized by this Agreement or by law.  Substantial breach events include but are not limited to the following:

12.2.1	Vendor fails to perform as required by this Agreement.

12.2.2	Vendor fails to make substantial and timely progress toward performance or fails to meet any of the material specifications and requirements stated in this Agreement, including without limitation the warranties provided in this Agreement, in the ITB or in the Vendor’s bid proposal.

12.2.3	Vendor fails to conform to the specifications as required this Agreement, in the ITB or in the Vendor’s bid proposal.

12.3	Immediate Termination.  The ICN may terminate this Agreement effective immediately without advance notice and without penalty for any of the following reasons:

12.3.1		Vendor furnished any statement, representation, warranty or certification in connection with this Agreement, which is materially false, deceptive, incorrect or incomplete.

12.3.2	Vendor fails to perform, to the ICN's satisfaction, any material requirement of this Agreement or is in violation of any material provision of this Agreement, including, without limitation, the express warranties made by the Vendor.

12.3.3	The ICN determines that satisfactory performance of this Agreement is substantially endangered or that a default is likely to occur.

12.3.4	Vendor becomes subject to any bankruptcy or insolvency proceeding under Federal or State law to the extent allowed by applicable Federal or State law including bankruptcy laws.

12.3.5	Vendor terminates or suspends its business.

12.3.6	The ICN reasonably believes that Vendor has become insolvent or unable to pay its obligations as they accrue consistent with applicable Federal or State law.

12.3.7	It is alleged that Vendor’s processes or materials violate any valid patent, trademark, copyright, other intellectual property right or contract, and the ICN reasonably believes that the allegation may impair Vendor’s performance of this Agreement.

12.3.8	Vendor has failed to comply with all applicable Federal, State, and local laws, rules, ordinances, regulations and orders when performing within the scope of this Agreement.

12.3.9		Vendor has engaged in conduct that has or may expose the ICN to liability, as determined in the ICN’s sole discretion.

12.3.10	Vendor has a conflict of interest that interferes with fair competition or conflicts with an interest of the ICN as determined in the ICN’s sole discretion.

12.4	In the event of termination of this Agreement for any reason by the ICN, the ICN shall pay only the amounts, if any, due and owing to Vendor for services actually rendered up to and including the date of termination of the Agreement and for which the ICN is obligated to pay pursuant to this Agreement.  Payment will be made only upon submission of invoices and proper proof of Vendor’s claim.  This provision in no way limits the remedies available to the ICN in the event of a termination under this provision.  However, the ICN shall not be liable for any of the following costs:

12.4.1	The payment of Unemployment Compensation to Vendor’s employees;

12.4.2	The payment of Workers' Compensation claims which occur during the Agreement or extend beyond the date on which the Agreement terminates.

12.4.3	Any costs incurred by Vendor in its performance of the Agreement including but not limited to startup costs, overhead or other costs associated with the performance of the Agreement.

12.4.4	Any taxes that may be owed by Vendor for the performance of this Agreement including but not limited to sales taxes, excise taxes, use taxes, income taxes or property.

12.5	Vendor Obligations upon Termination.  Upon expiration or termination of this Agreement, or upon request of the ICN, the Vendor shall:

12.5.1	Immediately cease using and return to the ICN any personal property or material, whether tangible or intangible, provided by the ICN to the Vendor and in its, or any subcontractor’s, control or possession;

12.5.1.1 If vendor personnel have been issued security badges or keys enabling access to ASP facilities, vendor shall return them to ICN at any time upon ICN request or if the person identified on the badge leaves the employ of the vendor.

12.5.2	Upon request from the ICN, destroy any personal property or material, whether tangible or intangible at no additional cost to the ICN, and verify in writing that the designated property or material has been destroyed;

12.5.3	Comply with the ICN’s instructions for the timely transfer of active files and work being performed by Vendor under this Agreement to the ICN or the ICN’s designee;

12.5.4	Protect and preserve property in the possession of the Vendor in which the ICN has an interest;

12.5.5	Stop work under this Agreement on the date specified in any notice of termination provided by the ICN;

12.5.6	Cooperate in good faith with the ICN, its employees, agents and contractors during the transition period between the notification of termination and the substitution of any replacement Vendor.

12.5.6.1 Upon termination of the contract for any reason vendor shall provide the ICN a final report detailing current operational status of each unit, also identifying any potential repairs each unit may need.  Vendor may also be asked to meet with the ICN and replacement vendor to assist in a transfer of knowledge related to the units.  If vendor is requested to attend this type of meeting, vendor will be allowed to invoice ICN for the time spent on site.

12.6	Care of Property.  The Vendor shall be responsible for the proper custody and care of any State owned tangible personal property furnished for the Vendor's use in connection with the performance of the Agreement, and the Vendor will reimburse the ICN for such property's loss or damage caused by the Vendor, normal wear and tear excepted.

SECTION 13.	CONTRACT ADMINISTRATION.

13.1	Independent Contractor.  The status of the Vendor shall be that of an independent contractor.  The Vendor, its employees, agents and any subcontractors performing under this Agreement are not employees or agents of the State of Iowa or any agency, division or department of the State.  Neither the Vendor nor its employees shall be considered employees of the ICN for Federal or State tax purposes.  The ICN will not withhold taxes on behalf of the Vendor (unless required by law).

13.2	Compliance with the Law and Regulations.

13.2.1	Compliance with the Law and Regulations.  Vendor shall comply with all applicable Federal, State, and local laws, rules, ordinances, regulations and orders when performing within the scope of this Agreement, including without limitation all laws applicable to the prevention of discrimination in employment, the administrative rules of the Iowa Department of Management or the Iowa Civil Rights Commission which pertain to equal employment opportunity and affirmative action, laws relating to prevailing wages, occupational safety and health standards, prevention of discrimination in employment, payment of taxes, gift laws, lobbying laws and laws relating the use of targeted small businesses as subcontractors or suppliers.

13.2.2	The Vendor declares that it has complied with all Federal, State and local laws regarding business permits and licenses that may be required to carry out the work to be performed under this Agreement, including without limitation, laws governing State of Iowa procurement and contracting.

13.2.3	The Vendor shall give notice to any labor union with which it has a bargaining or other agreement of its commitment under this section of the Agreement.  The Vendor shall make the provisions of this Section a part of its contracts with any subcontractors providing goods or services related to the fulfillment of this Agreement.

13.2.4	The Vendor shall comply with all of the reporting and compliance standards of the Department of Management regarding equal employment.

13.2.5	The Vendor may be required to submit its affirmative action plan to the Department of Management to comply with the requirements of 541 IAC Chapter 4.

13.2.6	The ICN may consider the failure of the Vendor to comply with any law or regulation as a material breach of this Agreement.  In addition, the Vendor may be declared ineligible for future State contracts or be subjected to other sanctions for failure to comply with this Section.

13.2.7      It shall be agreed that both parties will comply with the requirements of 2001 Iowa Acts, Chapter 169 to include, if this is a Service agreement function, in the Agreement terms providing for:

13.2.7.1 Performance Requirements, Vendor shall meet or exceed the performance requirements listed within the Scope of work.

13.2.7.2 Performance Inspection. Inspections will be performed on a case-by-case basis.  The ICN may at any time review Vendor's performance hereunder.  Vendor hereby agrees to provide all reasonable cooperation in the performance of such reviews.

13.2.7.3 Payment Deduction. If ICN determines in good faith that Vendor performance under this Agreement is unsatisfactory; the ICN may withhold payment until the situation is resolved to the satisfaction of the ICN.  If the Vendor is unable to resolve the situation to the satisfaction of the ICN, the withholding amount may be forfeit by the Vendor.

13.3	Amendments.  This Agreement may be amended in writing from time to time by mutual consent of the parties.  All amendments to this Agreement must be fully executed by the parties.

13.4	Third Party Beneficiaries.  There are no third-party beneficiaries to this Agreement.  This Agreement is intended only to benefit the State and the Vendor.

13.5	Choice of Law and Forum.

13.5.1	The laws of the State of Iowa shall govern and determine all matters arising out of or in connection with this Agreement without regard to the choice of law provisions of Iowa law.

13.5.2	In the event any proceeding of a quasi-judicial or judicial nature is commenced in connection with this Agreement, the exclusive jurisdiction for the proceeding shall be brought in Polk County District Court for the State of Iowa, Des Moines, Iowa, or in the United States District Court for the Southern District of Iowa, Central Division, Des Moines, Iowa wherever jurisdiction is appropriate.

13.5.3	This provision shall not be construed as waiving any immunity to suit or liability including without limitation sovereign immunity in State or Federal court, which may be available to the State of Iowa.

13.6	Integration.  This Agreement, including all the documents incorporated by reference, represents the entire Agreement between the parties and neither party is relying on any representation that may have been made which is not included in this Agreement.  The parties agree that if a Schedule, Addendum, Rider or Exhibit or other document is attached to this Agreement by the parties, and referred to in the Agreement, then the same shall be deemed incorporated to this Agreement by reference.

13.7	Not a Joint Venture.  Nothing in this Agreement shall be construed as creating or constituting the relationship of a partnership, joint venture, (or other association of any kind or agent/principal relationship) between the parties.  No party, unless otherwise specifically provided for, has the authority to enter into any agreement or create an obligation or liability on behalf of, in the name of, or binding upon another party to this Agreement.

13.8	Consent to Service.   The Vendor irrevocably consents to service of process by certified or registered mail addressed to the Vendor’s designated agent.  The Vendor appoints ____________________ at _____________________ as its agent to receive service of process.  If for any reason the Vendor’s agent for service is unable to act as such or the address of the agent changes, the Vendor shall immediately appoint a new agent and provide the ICN with written notice of the change in agent or address.  Any change in the appointment of the agent or address will be effective only upon actual receipt by the ICN.  Nothing in this provision will alter the right of the ICN to serve process in another manner permitted by law.

13.9	Supersedes Former Agreements.  This Agreement supersedes all prior Agreements between the ICN and the Vendor for the services provided in connection with this Agreement.

13.10	Waiver.  Any breach or default by either party shall not be waived or released other than by a writing signed by the other party.  Failure by either party at any time to require performance by the other party or to claim a breach of any provision of the Agreement shall not be construed as affecting any subsequent breach or the right to require performance with respect to the subsequent breach or to claim regarding the subsequent breach.

13.11	Notices.

13.11.1	Any and all notices, designations, consents, offers, acceptances or any other communication provided for herein shall be given in writing by registered or certified mail, return receipt requested, by receipted hand delivery, by electronic mail or facsimiles, by Federal Express, courier or other similar and reliable carrier which shall be addressed to each party as set forth as follows:

| If to the ICN: | ## ICN Contracting Officer |
| --- | --- |
|  | Grimes State Office Building |
|  | 400 East 14th Street |
|  | Des Moines, IA 50319 |
| If to the Vendor: | [Vendor may provide one (1) contact] |

13.11.2	Each such notice shall be deemed to have been provided:

13.11.2.1	At the time it is actually received; or,

13.11.2.2	Within one day in the case of overnight hand delivery, courier or services such as Federal Express with guaranteed next day delivery; or,

13.11.2.3	Within five days after deposited in the U.S. Mail in the case of registered or certified U.S.Mail.

13.11.2.4	When verified by automated receipt or electronic logs if sent by facsimile or email.

13.11.3	Copies of such notice to each party shall be provided separately.

13.11.4	From time to time, the parties may change the name and address of a party designated to receive notice.  Such change of the designated person shall be in writing to the other party and as provided herein.

13.12	Cumulative Rights.  The various rights, powers, options, elections and remedies of either party, provided in this Agreement, shall be construed as cumulative and no one of them is exclusive of the others or exclusive of any rights, remedies or priorities allowed either party by law.  Nothing in this Agreement shall be construed as affecting, impairing or limiting the equitable or legal remedies to which either party may be entitled as a result of any breach of this Agreement.

13.13	Severability.  If any provision of this Agreement is determined by a court of competent jurisdiction to be invalid or unenforceable, the invalid portion shall be severed from this Agreement.  Such a determination shall not affect the validity or enforceability of any other part or provision of this Agreement.

13.14	Express Warranties.  The Vendor expressly warrants all aspects of the items and services provided by it or used by the Vendor and the ICN in performance of this Agreement.

13.15	Warranty Regarding Solicitation.  The Vendor warrants that no person or selling agency has been employed or retained to solicit and secure this Agreement upon an agreement or understanding for commission, percentage, brokerage or contingency except bona fide employees or selling agents maintained for the purpose of securing business.

13.16	Obligations of Joint Entities.  If the Vendor is a joint entity consisting of more than one individual, partnership, corporation or other business organization, all such entities shall be jointly and severally liable for carrying out the Agreement activities.

13.17	Obligations Beyond Agreement Term.  This Agreement shall remain in full force and effect to the end of the specified term or until terminated or canceled pursuant to this Agreement.  All obligations of the Vendor incurred or existing under this Agreement as of the date of expiration, termination or cancellation will survive the expiration, termination or cancellation of this Agreement.

13.18	Time is of the Essence.  Time is of the essence with respect to the successful performance of the terms of this Agreement.  The Vendor shall ensure that all personnel providing services to the ICN are responsive to the ICN’s requirements in all respects.

13.19	Authorization.  Each party to this Agreement represents and warrants to the other that it has the right, power and authority to enter into and perform its obligations under this Agreement and that it has taken all requisite action (corporate, statutory, or otherwise) to approve execution, delivery and performance of this Agreement.  This Agreement constitutes a legal, valid and binding obligation upon the parties in accordance with its terms.

13.20	Successors in Interest.  All the terms, provisions, and conditions of the Agreement shall be binding upon and inure to the benefit of the parties hereto and their respective successors, assigns, and legal representatives.

13.21	Counterparts and Facsimile Signatures.  The parties agree that this Agreement has been or may be executed in several counterparts, each of which shall be deemed an original and all such counterparts shall together constitute one and the same instrument.  The parties further agree that the signatures on this Agreement or any amendment or schedule may be manual or a facsimile signature of the person authorized to sign the appropriate document.  All authorized facsimile signatures shall have the same force and effect as if manually signed.

13.22	Use of Third Parties/Prime Vendor Responsibilities.  The ICN acknowledges that the Vendor may enter into Agreement with third parties for the performance of any of the Vendor’s obligations under this Agreement.  All subcontracts shall be subject to advance written approval by the ICN.  The Vendor may enter into these contracts to complete the project provided that the Vendor remains responsible for all services performed under this Agreement.  All restrictions, obligations and responsibilities of the Vendor under this Agreement shall also apply to subcontractors.  The ICN shall consider the Vendor to be the sole point of contact with regard to all matters related to this Agreement and is not required to initiate or maintain contact with any subcontractor.  ICN may choose to deny use of any specific third-party contractor at ICN’s sole discretion, in which case the Vendor must obtain a different third-party contractor.

13.23	RESERVED.

13.24	Force Majeure.  Neither Vendor nor the ICN shall be liable to the other for any delay or failure of performance of this Agreement; and no delay or failure of performance shall constitute a default or give rise to any liability for damages if, and only to the extent that, such delay or failure is caused by a "force majeure".

13.24.1	   As used in this Agreement, "force majeure" includes acts of God, war, civil disturbance 	and 	any other  similar causes which are beyond the control and anticipation of the party 	affected and which, by the exercise of reasonable diligence, the party was unable to anticipate 	or prevent.  Failure to perform by a subcontractor or an agent of the Vendor shall not be 	considered a "force majeure" unless the subcontractor or supplier is prevented from timely 	performance by a "force majeure" as defined in 	this Agreement. "Force majeure" does not 	include: financial difficulties of the Vendor or any parent, 	subsidiary, affiliated or associated 	company of Vendor; claims or court orders which restrict Vendor’s ability to deliver the goods or 	services contemplated by this Agreement.

13.24.2	   If a "force majeure" delays or prevents Vendor’s performance, the Vendor shall immediately commence to use its best efforts to directly provide alternate, and to the extent possible, comparable performance. Comparability of performance and the possibility of comparable performance shall be reasonably determined solely by the ICN.

13.24.3	    During any such period, the Vendor shall continue to be responsible for all costs and expenses related to alternative performance.

13.24.4	    This Section shall not be construed as relieving the Vendor of its responsibility for any obligation which is being performed by a subcontractor or supplier of services unless the subcontractor or supplier is prevented from timely performance by a “force majeure”.

13.25	Records Retention and Access.    The Vendor shall permit the Auditor of the State of Iowa or any authorized representative of the State or any authorized representative of the United States government, to access and examine, audit, excerpt and transcribe any directly pertinent validation records, financial records, accounting records, books, documents, papers, electronic or optically stored and created records or other records of the Vendor relating to or created as a result of the performance of this Agreement.  These records shall be made available to the State, its designees, the Auditor, or an authorized representative of the United States government at reasonable times and at no cost to the State during the term of this Agreement is for a period of at least (5) years following the termination, cancellation or expiration of this Agreement.

13.26	  Taxes.  ICN declares and Vendor acknowledges that the Vendor and its subcontractors may be subject to certain taxes including but not limited to sales tax, motor vehicle fuel tax, personal or corporate income tax or other taxes or assessments, and to licensing fees or other miscellaneous fees or charges which may be imposed by Federal, State or local law or ordinance.  The Vendor and its subcontractors shall be solely responsible for the payment of such taxes.  The Vendor shall promptly pay all such taxes, fees or charges when due.  ICN is a tax-exempt entity and the Vendor shall not attempt to pass on any costs, including surcharges and fees, to the ICN that are attributable to federal, state, or local taxes, including sales tax, motor fuel tax, property tax, or personal or corporate income tax.

13.27  	RESERVED.

13.28	Further Assurances and Corrective Instruments.  The Vendor agrees that it will, from time to time, execute, acknowledge and deliver, or cause to be executed, acknowledged and delivered, such supplements hereto and such further instruments as may reasonably be required for carrying out the expressed intention of this Agreement.

13.29	Assignment and Delegation.  This Agreement may not be assigned, transferred or conveyed in whole or in part without the prior written consent of the other party.  For purposes of construing this clause, a transfer of a controlling interest in Vendor shall be considered an assignment.  If either party, in its sole discretion, determines that the other party’s assignment of this Agreement to another person or entity is not in the determining party’s best interests, the determining party may elect to terminate this Agreement with the other party without penalty upon thirty (30) days written notice to the Vendor.

13.30	Headings or Captions.  The paragraph headings or captions are for identification purposes only and do not limit or construe the contents of the paragraphs.

13.31	The ICN reserves the right to conduct criminal history and other background investigations of the Vendor, its officers, directors, shareholders, or partners and personnel retained by the Vendor for the performance of this Agreement.

13.32	No Minimums Guaranteed.  The ICN does not guarantee any minimum usage of the Vendor’s services or make any volume commitment under this Agreement.

SECTION 14.	Business Downturn.

14.1	In the event of a business downturn or budget difficulties beyond the control of the ICN, including budget difficulties of other authorized users of the ICN or significant restructuring or reorganization, any of which significantly reduces the volume of Services required by the ICN, with the result that ICN will be unable to meet its revenue or volume commitments under this Agreement, Vendor and the ICN will cooperate in efforts to develop a mutually agreeable alternative.

SECTION 15.	Reduction of Resources.

15.1	If, during the Term, the ICN experiences a change in the scope, nature or volume of its business, or if the ICN elects to change the manner or method by which it does (including, but not limited to, an election by Iowa Legislature to effect a sale or other disposition of material assets), which have or may have the effect of causing a decrease in the quantity or quality of the Services that will be needed by ICN, then ICN may request Vendor to reduce the level of Services and the annual Service charges to ICN under this Agreement.  However any such reduction must not adversely impact upon Vendor’s ability to reasonably perform its obligations under the Agreement.

15.2	In such event, Vendor shall estimate, in writing and in good faith, the aggregate decreased charges to Vendor from ICN's ceasing to perform such Services and shall provide such written estimate to ICN, no later than 30 days from Vendor’s receipt of ICN's notice.  ICN, upon receipt of such estimate, may then elect by written notice given to Vendor within 15 days following receipt of Vendor's written estimate to:

15.2.1	Withdraw its request for a cessation of part of the Services;

15.2.2	Implement such partial cessation of Services based upon the estimate of Vendor; or

15.2.3	Request that Vendor negotiate with ICN regarding the aggregate reduction in the Annual Service Charges due to Vendor from ICN hereunder as a result of the partial cessation of Services. If ICN shall elect to request Vendor to negotiate, the parties shall promptly negotiate in good faith regarding the amount.

SECTION 16.	EXECUTION.

IN WITNESS WHEREOF, in consideration of the mutual covenants set forth above and for other good and valuable consideration, the receipt, adequacy and legal sufficiency of which are hereby acknowledged, the parties have entered into the above Agreement and have caused their duly authorized representatives to execute this Agreement.

Iowa Telecommunications and Technology Commission Operating the

IOWA COMMUNICATIONS NETWORK

| By: _________________________________________ |  | Date: _____________ |
| --- | --- | --- |
| Name: ______________________________________ |  |  |
| Title: ________________________________________ |  |  |

[VENDOR will be listed]:

| By: ________________________________________ |  | Date: _____________ |
| --- | --- | --- |
| Name: _____________________________________ |  |  |
| Title: _______________________________________ |  |  |

# ATTACHMENT 3

# AUTHORIZATION TO RELEASE INFORMATION

#### ITB 23-001

(Name of Vendor) hereby authorizes any person or entity, public or private, having any information concerning the Vendor’s background, including but not limited to its performance history regarding its prior rendering of services similar to those detailed in this ITB, to release such information to the State.

The Vendor acknowledges that it may not agree with the information and opinions given by such person or entity in response to a reference request.  The Vendor acknowledges that the information and opinions given by such person or entity may hurt its chances to receive contract awards from the State or may otherwise hurt its reputation or operations.  The Vendor acknowledges and agrees that it is willing to take that risk.  The Vendor agrees to release all persons, entities, and the State of Iowa from any liability whatsoever that may be incurred in releasing this information or using this information.

| Printed Name of Vendor Organization |  |  |
| --- | --- | --- |
| Signature of Authorized Representative |  | Date |