## Sheet1
Notes and Exclusions: Standard Commercial Generator
1. All prices quoted above are standard base genset models with radiator.
Additional options available to meet AHJ or regional specifications.
2. All KW ratings indicated in price sheet are standby ratings.
3. Additional Cummins factory features and options will match target priced for base model.
4. Startup will be priced separately based on location and project specific requirements.
5. Any initial onsite emission testing that may be needed is not included in the above pricing.
6. Freight is included for Cummins product in the contiguous 48.
However, additional freight charges may apply for 3rd party items.
7. Cummins is committed to introducing new models. Contact your National Account Executive
8. All products have been quoted at standard industry voltages (120V/240V) single phase.
Additional voltages are available.
9. For Canadian customers - Please note all prices are listed in US dollars.
10. Please refer to Bank of Canada posted daily rates to calculate exchange rate to Canadian Dollar prices.
11. Open market pricing will apply for non-cummins content
Standard Commercial Generators
Model # | KW | FUEL | Emission | PHASE | Sourcewell Member
C10D6 | 10KW | DIESEL | EPA Tier 4i | 1 or 3 | 10679.5
C15D6 | 15KW | DIESEL | EPA Tier 4i | 1 or 3 | 10090.68
C20D6 | 20KW | DIESEL | EPA Tier 4i | 1 or 3 | 11950.31
C25D6 | 25KW | DIESEL | EPA Tier 3 | 1 or 3 | 12383.85
C30D6 | 30KW | DIESEL | EPA Tier 3 | 1 or 3 | 12424.84
C35D6 | 35KW | DIESEL | EPA Tier 3 | 1 or 3 | 12608.7
C40D6 | 40KW | DIESEL | EPA Tier 3 | 1 or 3 | 12982.61
C50D6 | 50KW | DIESEL | EPA Tier 3 | 1 or 3 | 13315.53
C60D6 | 50KW | DIESEL | EPA Tier 3 | 1 or 3 | 14414.91
C50D6C | 60KW | DIESEL | EPA Tier 3 | 1 or 3 | 15218.63
C60D6C | 60KW | DIESEL | EPA Tier 3 | 1 or 3 | 16448.45
C80D6C | 80KW | DIESEL | EPA Tier 3 | 1 or 3 | 17777.64
C100D6C | 100KW | DIESEL | EPA Tier 3 | 1 or 3 | 20759.01
C125D6C | 125KW | DIESEL | EPA Tier 3 | 1 or 3 | 21539.13
C125D6D | 125KW | DIESEL | EPA Tier 3 | 1 or 3 | 23914.29
C150D6D | 150KW | DIESEL | EPA Tier 3 | 1 or 3 | 29638.51
C175D6D | 175KW | DIESEL | EPA Tier 3 | 1 or 3 | 32457.14
C200D6D | 200KW | DIESEL | EPA Tier 3 | 1 or 3 | 33121.74
230DSHAD | 200KW | DIESEL | EPA Tier 3 | 1 or 3 | 39529.19
250DQDAA | 250KW | DIESEL | EPA Tier 3 | 3 | 42223.6
275DQDAB | 275KW | DIESEL | EPA Tier 3 | 3 | 40406.21
300DQDAC | 300KW | DIESEL | EPA Tier 3 | 3 | 47180.12
400DFEJ | 400KW | DIESEL | EPA Tier 2 | 2 | 63171.43
500DFEK | 500KW | DIESEL | EPA Tier 2 | 2 | 66345.34
600DQCA | 600KW | DIESEL | EPA Tier 2 | 2 | 98337.89
750DQCB | 750KW | DIESEL | EPA Tier 2 | 3 | 119874.53
800DQCC | 800KW | DIESEL | EPA Tier 2 | 3 | 129032.3
900DQFAC | 900KW | DIESEL | EPA Tier 2 | 3 | 172911.8
1000DQFAD | 1000KW | DIESEL | EPA Tier 2 | 3 | 166429.81
The units below require applicaton, code, and 3rd party considerations.
Please contact National Account Mgr for pricing and delivery
C1250D6E | 1250kW | DIESEL | EPA Tier 2 | 3 | 223608.87
C1500D6E | 1500kW | DIESEL | EPA Tier 2 | 3 | 255651.79
1250DQGAE | 1250KW | DIESEL | EPA Tier 2 | 3 | 221273.29 | Remove after 05/31 per previous PNP
1500DQGAF | 1500KW | DIESEL | EPA Tier 2 | 3 | 266437.27 | Remove after 05/31 per previous PNP
1750 DQKAA | 1750KW | DIESEL | EPA Tier 2 | 3 | 305223.6
1750DQKAD | 1750KW | DIESEL | EPA Tier 2 | 3 | 368708.07
2000 DQKAB | 200KW | DIESEL | EPA Tier 2 | 3 | 354083.23
2000DQKAE | 2000KW | DIESEL | EPA Tier 2 | 3 | 364598.76
2250 DQKAF | 2250KW | DIESEL | EPA Tier 2 | 3 | 446488.2
2500 DQKAN | 2500KW | DIESEL | EPA Tier 2 | 3 | 503040.99
2500DQLE | 2500KW | DIESEL | EPA Tier 2 | 3 | 575817.39
2750DQLF | 2750KW | DIESEL | EPA Tier 2 | 3 | 634439.75
C3000 D6E | 3000kKW | DIESEL | EPA Tier 2 | 3 | 765166.46
C3250 D6E | 3250KW | DIESEL | EPA Tier 2 | 3 | 801009.94
Stby Gas
C20N6 | 20KW | NG/ Propane | EPA | 1 or 3 | 7874.53
C25N6 | 25KW | NG/ Propane | EPA | 1 or 3 | 8218.63
C30N6 | 30KW | NG/ Propane | EPA | 1 or 3 | 8749.07
C36N6 | 36KW | NG/ Propane | EPA | 1 or 3 | 10935.4
C40N6 | 40KW | NG/ Propane | EPA | 1 or 3 | 11782.61
C45N6 | 45KW | NG/ Propane | EPA | 1 or 3 | 13094.41
C50N6 | 50KW | NG/ Propane | EPA | 1 or 3 | 14306.83
C60N6 | 60KW | NG/ Propane | EPA | 1 or 3 | 15709.32
C70N6 | 70KW | NG/ Propane | EPA | 1 or 3 | 17351.55
C80N6 | 80KW | NG/ Propane | EPA | 1 or 3 | 19037.27
C100N6 | 100KW | NG/ Propane | EPA | 1 or 3 | 21418.63
C125N6 | 125kw | NG/ Propane | EPA | 1 or 3 | 26667.08
C150N6 | 150kw | NG/ Propane | EPA | 1 or 3 | 31176.4
C175N6B | 175kW | NG/ Propane | EPA | 1 or 3 | 43722.98
C200N6B | 200kW | NG/ Propane | EPA | 1 or 3 | 53043.48
C200N6 | 200kW | NG/ Propane | EPA | 1 or 3 | 79718.01
C250N6 | 250kW | NG/ Propane | EPA | 1 or 3 | 95526.71
C300N6 | 300kW | NG/ Propane | EPA | 1 or 3 | 105455.9
C350N6 | 350kW | NG/ Propane | EPA | 1 or 3 | 137711.8
C400N6 | 400kW | NG/ Propane | EPA | 1 or 3 | 166096.89
C450N6 | 450kW | NG/ Propane | EPA | 1 or 3 | 179670.81
C500N6B | 500kW | NG/ Propane | EPA | 1 or 3 | 191927.95
C550N6 | 550kW | NG/ Propane | EPA | 1 or 3 | 233298.14
C600N6 | 600kW | NG/ Propane | EPA | 1 or 3 | 284433.54
C650N6 | 650kW | NG/ Propane | EPA | 1 or 3 | 289122.98
C750N6 | 750kW | NG/ Propane | EPA | 1 or 3 | 319086.96
C1000N6B | 1000kW | NG/ Propane | EPA | 1 or 3 | 398134.16
C1300N6 | 1300kW | NG/ Propane | EPA | 1 or 3 | 407298.14
Additional NG units available upon request. Contact National Account Mgr
for pricing and delivery
Rental Pwr
C70D2RE | 70KW | Diesel | EPA T4F | 3 | 70416.15
C100D2RE | 100KW | Diesel | EPA T4F | 3 | 80626.09
C150D2RE | 150KW | Diesel | EPA T4F | 3 | 99122.98
C200D2RE | 200KW | Diesel | EPA T4F | 3 | 118982.61
C275D2RE | 275KW | Diesel | EPA T4F | 3 | 152759.01
C500D6RE | 500KW | Diesel | EPA T4F | 3 | 270316.77
C1000D6RE | 1000kW | Diesel | EPA T4F | 3 | 635517.5
Due to the high 3rd party content and long lead time - Please contact
National Account Mgr for for Sourcewell Pricing and delivery
Automatic Transfer Switches (ATS)
Notes and Exclusions
All prices quoted above are standard base models; 3pole with NEMA1 cabinet.
options available to include NEMA3R, 4 pole, closed transfer mode, etc. for additional pricing.
Startup will be priced separately based on location and project specific requirements.
Freight is FOB jobsite, freight allowed in the contiguous 48.
Model # | Amp | Enclosure | Listing | Pole
OTECA | 40 | Nema 1 | UL-1008 | 3 | 1734.1615
OTECA | 70 | Nema 1 | UL-1008 | 3 | 1782.6087
OTECA | 125 | Nema 1 | UL-1008 | 3 | 1812.4224
OTECB | 150 | Nema 1 | UL-1008 | 3 | 1975.1553
OTECB | 225 | Nema 1 | UL-1008 | 3 | 2601.2422
OTECB | 260 | Nema 1 | UL-1008 | 3 | 2792.5466
OTECC | 300 | Nema 1 | UL-1008 | 3 | 3122.9814
OTECC | 400 | Nema 1 | UL-1008 | 3 | 3340.3727
OTECC | 600 | Nema 1 | UL-1008 | 3 | 5963.9752
OTECD | 800 | Nema 1 | UL-1008 | 3 | 7423.6025
OTECD | 1000 | Nema 1 | UL-1008 | 3 | 10859.6273
OTECE | 1200 | Nema 1 | UL-1008 | 3 | 11119.2547
OTEC SE A | 40 | Nema 1 | UL-1008 | 3 | 4501.8634
OTEC SE A | 70 | Nema 1 | UL-1008 | 3 | 4011.1801
OTEC SE A | 100 | Nema 1 | UL-1008 | 3 | 4027.3292
OTEC SE A | 125 | Nema 1 | UL-1008 | 3 | 4043.4783
OTEC SE B | 150 | Nema 1 | UL-1008 | 3 | 4396.2733
OTEC SE B | 200 | Nema 1 | UL-1008 | 3 | 5257.1429
OTEC SE B | 225 | Nema 1 | UL-1008 | 3 | 5690.6832
OTEC SE B | 250 | Nema 1 | UL-1008 | 3 | 6751.5528
OTEC SE C | 300 | Nema 1 | UL-1008 | 3 | 6129.1925
OTEC SE C | 400 | Nema 1 | UL-1008 | 3 | 6596.2733
OTEC SE C | 600 | Nema 1 | UL-1008 | 3 | 9371.4286
OTEC SE D | 800 | Nema 1 | UL-1008 | 3 | 12660.8696
OTEC SE D | 1000 |  |  |  | 13790.0621
High Interrup ATS
X-Series
CXSB | 40 | Nema 1 | UL-1008 | 3 | 5705.5901
CXSB | 70 | Nema 1 | UL-1008 | 3 | 5150.3106
CXSB | 125 | Nema 1 | UL-1008 | 3 | 5258.3851
CXSB | 150 | Nema 1 | UL-1008 | 3 | 5344.0994
CXSB | 225 | Nema 1 | UL-1008 | 3 | 6091.9255
CXSB | 260 | Nema 1 | UL-1008 | 3 | 6455.9006
CXSB | 300 | Nema 1 | UL-1008 | 3 | 7337.8882
CXSB | 400 | Nema 1 | UL-1008 | 3 | 7636.0248
CXTC | 150 | Nema 1 | UL-1008 | 3 | 7124.2236
CXTC | 225 | Nema 1 | UL-1008 | 3 | 6991.3043
CXTC | 260 | Nema 1 | UL-1008 | 3 | 7354.0373
CXTC | 300 | Nema 1 | UL-1008 | 3 | 8236.0248
CXTC | 400 | Nema 1 | UL-1008 | 3 | 8911.8012
CXTC | 600 | Nema 1 | UL-1008 | 3 | 9893.1677
CXTD | 600 | Nema 1 | UL-1008 | 3 | 10096.8944
CXTD | 800 | Nema 1 | UL-1008 | 3 | 12792.5466
CXRE | 1000 | Nema 1 | UL-1008 | 3 | 18937.8882
CXRE | 1200 | Nema 1 | UL-1008 | 3 | 18439.7516
CXRF | 1200 | Nema 1 | UL-1008 | 3 | 18824.8447
CXRF | 1600 | Nema 1 | UL-1008 | 3 | 20916.7702
CXRG | 1600 | Nema 1 | UL-1008 | 3 | 20675.7764
CXRG | 2000 | Nema 1 | UL-1008 | 3 | 22973.913
CXRH | 2600 | Nema 1 | UL-1008 | 3 | 32014.9068
CXRH | 3000 | Nema 1 | UL-1008 | 3 | 35572.6708
Service Entrance Rated ATS
CXSB SE | 40 | Nema 1 | UL-1008 | 3 | 5377.6398
CXSB SE | 70 | Nema 1 | UL-1008 | 3 | 7191.3043
CXSB SE | 125 | Nema 1 | UL-1008 | 3 | 7494.4099
CXSB SE | 150 | Nema 1 | UL-1008 | 3 | 8313.0435
CXSB SE | 225 | Nema 1 | UL-1008 | 3 | 10198.7578
CXSB SE | 260 | Nema 1 | UL-1008 | 3 | 10648.4472
CXSB SE | 300 | Nema 1 | UL-1008 | 3 | 11265.8385
CXSB SE | 400 | Nema 1 | UL-1008 | 3 | 12443.4783
CXTC SE | 150 | Nema 1 | UL-1008 | 3 | 8455.9006
CXTC SE | 225 | Nema 1 | UL-1008 | 3 | 9203.7267
CXTC SE | 260 | Nema 1 | UL-1008 | 3 | 9566.4596
CXTC SE | 300 | Nema 1 | UL-1008 | 3 | 10448.4472
CXTC SE | 400 | Nema 1 | UL-1008 | 3 | 11124.2236
CXTC SE | 600 | Nema 1 | UL-1008 | 3 | 12105.5901
CXTD SE | 600 | Nema 1 | UL-1008 | 3 | 14277.0186
CXTD SE | 800 | Nema 1 | UL-1008 | 3 | 15391.3043
CXRE SE | 1000 | Nema 1 | UL-1008 | 3 | 23058.3851
CXRE SE | 1200 | Nema 1 | UL-1008 | 3 | 25621.118
CXRF SE | 1200 | Nema 1 | UL-1008 | 3 | 25963.9752
CXRF SE | 1600 | Nema 1 | UL-1008 | 3 | 28848.4472
CXRG SE | 1600 | Nema 1 | UL-1008 | 3 | 28870.8075
CXRG SE | 2000 | Nema 1 | UL-1008 | 3 | 32078.2609
Bypass ATS
BTPCB | 150 | Nema 1 | UL-1008 | 3 | 13062.1118
BTPCB | 225 | Nema 1 | UL-1008 | 3 | 13632.2981
BTPCB | 260 | Nema 1 | UL-1008 | 3 | 14315.528
BTPCC | 300 | Nema 1 | UL-1008 | 3 | 16412.4224
BTPCC | 400 | Nema 1 | UL-1008 | 3 | 19562.7329
BTPCC | 600 | Nema 1 | UL-1008 | 3 | 24248.4472
BTPCD | 800 | Nema 1 | UL-1008 | 3 | 27308.0745
BTPCD | 1000 | Nema 1 | UL-1008 | 3 | 34886.9565
CBRF | 1200 | Nema 1 | UL-1008 | 3 | 61985.09
CBRF | 1600 | Nema 1 | UL-1008 | 3 | 65360.25
CBRG | 1600 | Nema 1 | UL-1008 | 3 | 69224.84
CBRG | 2000 | Nema 1 | UL-1008 | 3 | 77072.05
CBRH | 2600 | Nema 1 | UL-1008 | 3 | 97515.53
CBRH | 3000 | Nema 1 | UL-1008 | 3 | 108645.96
Cummins Inc - Sourcewell Service & ETO Discount Percentage
Field Service/ Start up | 10% discount - off typical sale price
Installation support | 10% discount - off typical sale price
Member specific Training | 5% discount - off typical sale price
Custom Enclosure and Fuel Tanks | 10% discount - off typical sale price
Field Technician Labor | 5% discount - off typical sale price
Maintenance Agreements | 5% discount - off typical sale price
Engineer to Order products and services (Swicthgear,Networking, Turn Key Solutions) | 5% discount - off typical sale price